## Supplement
Device Name | Company | Submission Number | Pathway | Date of Final Decision | FDA Class | Study Design | Data Collection | Sites | Sample Size | Data Available Online
CellaVision DM96 Automatic Hematology Analyzer | Cella Vision AB | K033840 | 510(k) | 2004-02-10 | II |  | NR | NR | NR | No
BioPlex 2200 Medical Decision Support Software (MDSS) on the BioPlex 2200 Multi-Analyte Detection System | Bio-Rad Laboratories | K043341 | 510(k) | 2005-10-27 | II | Case-control | Prospective | 3 | NR | No
UniCel DxH 800 Coulter Cellular Analysis System | Beckman Coulter, Inc. | K120771 | 510(k) | 2013-03-22 | II |  | NR | NR | NR | No
Ysio Max | Siemens Medical Solutions USA, Inc. | K133259 | 510(k) | 2014-01-24 | II |  | NR | NR | NR | No
Dario Blood Glucose Monitoring System | LabStyle Innovations Ltd. | K150817 | 510(k) | 2015-12-21 | II | Comparative | NR | NR | NR | No
ClearView CCAD | ClearView Diagnostics Inc. | K161959 | 510(k) | 2016-12-28 | II | Comparative | Retrospective | NR | 1431 | No
Reveal LINQ | Medtronic, Inc. | K162855 | 510(k) | 2017-02-23 | II |  | NR | NR | NR | No
BladderScan Prime PLUS System | Verathon Incorporated | K172356 | 510(k) | 2017-09-15 | II |  | NR | NR | NR | No
EyeBOX | Oculogica, Inc. | DEN170091 | De Novo | 2018-12-28 | II | Case-control | Retrospective | NR | 282 | No
SOZO | ImpediMed Limited | K180126 | 510(k) | 2018-04-16 | II |  | NR | NR | NR | No
DR 800 With MUSICA Dynamic | Agfa HealthCare N.V. | K180589 | 510(k) | 2018-04-05 | II |  | NR | NR | NR | No
Embrace | Empatica Srl | K181861 | 510(k) | 2018-12-20 | II | Cohort | Prospective | 1 | 141 | No
Centricity Universal Viewer | GE Healthcare | K182419 | 510(k) | 2018-12-14 | II |  | NR | NR | NR | No
SIGNA Premier | GE Medical Systems, LLC | K183231 | 510(k) | 2019-01-18 | II | Comparative | NR | NR | NR | No
Raystation | Raysearch Laboratories Ab (Publ) | K190387 | 510(k) | 2019-06-19 | II |  | NR | NR | NR | No
Sight OLO | Sight Diagnostics Ltd. | K190898 | 510(k) | 2019-11-01 | II | Cohort | Retrospective | 3 | 679 | No
Syngo.Via RT Image Suite | Siemens Medical Solutions USA, Inc. | K192065 | 510(k) | 2019-09-18 | II | Comparative | Retrospective | NR | 32 | No
Merge PACS | Merge Healthcare Incorporated | K192455 | 510(k) | 2019-10-17 | II |  | NR | NR | NR | No
Accelerate Pheno System, Accelerate Phenotest Bc Kit | Accelerate Diagnostics, Inc. | K192665 | 510(k) | 2020-09-15 | II | Cohort | Prospective | NR | 115 | No
Aquilion Prime SP (TSX-303B8) V10.2 with AiCE-I | Canon Medical Systems Corporation | K192832 | 510(k) | 2020-02-21 | II |  | NR | NR | NR | No
Biograph Horizon PET/CT | Siemens Medical Solution USA, Inc. | K193178 | 510(k) | 2020-02-12 | II |  | NR | NR | NR | No
Biograph Vision, Biograph MCT Family Of PET/CTs | Siemens Medical Solutions USA, Inc. | K193248 | 510(k) | 2020-02-14 | II |  | NR | NR | NR | No
Vivid S60N, Vivid S70N | GE Medical Systems Ultrasound and Primary Care Diagnostics, LLC | K200497 | 510(k) | 2020-07-16 | II |  | NR | NR | NR | No
Raystation | Raysearch Laboratories Ab (Publ) | K200569 | 510(k) | 2020-09-24 | II |  | NR | NR | NR | No
Caption Interpretation Automated Ejection Fraction Software | Caption Health | K200621 | 510(k) | 2020-07-22 | II | Comparative | NR | NR | NR | No
Revolution Ascend | GE Healthcare Japan Corporation | K203169 | 510(k) | 2020-11-20 | II |  | NR | NR | NR | No
Cartesion Prime (PCD-1000A/3) V10.8 | Canon Medical Systems Corporation | K203314 | 510(k) | 2021-04-23 | II | Cross-sectional | NR | NR | 5 | No
MAGNETOM Vida, MAGNETOM Sola, MAGNETOM Lumina, MAGNETOM Altea with syngo MR XA31A | Siemens Medical Solutions USA, Inc. | K203443 | 510(k) | 2021-03-31 | II |  | NR | NR | NR | Yes
MAGNETOM Free.Max | Siemens Medical Solutions USA, Inc. | K210611 | 510(k) | 2021-07-01 | II |  | NR | NR | 12 | No
RayStation 10.1 | RaySearch Laboratories AB (publ) | K210645 | 510(k) | 2021-06-29 | II | Cohort | NR | NR | NR | No
syngo.via RT Image Suite | Siemens Medical Solutions USA Inc. | K211379 | 510(k) | 2021-07-30 | II | Cross-sectional | NR | NR | NR | No
Philips Incisive CT | Philips Healthcare (Suzhou) Co., Ltd. | K212441 | 510(k) | 2022-04-27 | II |  | NR | NR | NR | No
Aplio a550, Aplio a450, and Aplio a, Diagnostic Ultrasound System, Software V6.5 | Canon Medical Systems Corporation | K212960 | 510(k) | 2022-03-22 | II |  | NR | NR | NR | No
Achieva, Ingenia, Ingenia CX, Ingenia Elition and Ingenia Ambition MR Systems | Philips Medical Systems Nederland B.V. | K213583 | 510(k) | 2022-05-16 | II |  | NR | NR | NR | No
RayStation 11B | RaySearch Laboratories AB (publ) | K220141 | 510(k) | 2022-04-15 | II |  | NR | NR | NR | No
Vivid S60N, Vivid S70N | GE Medical Systems Ultrasound and Primary Care Diagnostics, | K220619 | 510(k) | 2022-07-15 | II | Cross-sectional | Retrospective | NR | 135 | No
Venue Go | GE Medical Systems Ultrasound and Primary Care Diagnostics | K220800 | 510(k) | 2022-06-21 | II | Cross-sectional | Retrospective | NR | 3776 | No
LINQ II Insertable Cardiac Monitor | Medtronic, Inc. | K221962 | 510(k) | 2022-08-25 | II |  | Retrospective | NR | NR | NR
MAGNETOM Amira; MAGNETOM Sempra | Siemens Medical Solutions USA Inc. | K223343 | 510(k) | 2023-03-28 | II |  | NR | NR | NR | No
CARESCAPE Canvas 1000, CARESCAPE Canvas Smart Display, CARESCAPE Canvas D19, F2 Frame (F2-01) | GE Healthcare Finland Oy | K223531 | 510(k) | 2023-04-06 | II |  | NR | NR | NR | No
PAPNET Testing System | Neuromedical Systems, Inc. | P940029 | Premarket Approval | 1995-11-08 | II | Cohort | Retrospective | 6 | 1247 | Yes
Compumedics Sleep Monitoring System | Computmedics Sleep Pty. Ltd. | K955841 | 510(k) | 1997-03-11 | II |  | NR | NR | NR | No
DiffMaster Octavia Automatic Hematology Analyzer | CellaVision AB | K003301 | 510(k) | 2001-03-15 | II | Comparative | NR | NR | NR | No
CellaVision DM96 with the body fluid application | Cella Vision AB | K080595 | 510(k) | 2008-12-05 | II |  | NR | NR | NR | No
IB Neuro, Version 1.0 | Imaging Biometrics, LLC | K080762 | 510(k) | 2008-05-15 | II |  | NR | NR | NR | NR
Pathwork Tissue of Origin Test | Pathwork Diagnostics Inc. | K080896 | 510(k) | 2008-07-30 | II |  | NR | 4 | 545 | No
Visensia | OBS Medical | K081140 | 510(k) | 2008-07-17 | II |  | NR | NR | NR | No
Quantra | Hologic, Inc. | K082483 | 510(k) | 2008-09-12 | II |  | NR | NR | NR | No
EasyCell | Medica Corporation | K092116 | 510(k) | 2010-05-12 | II | Comparative | Prospective | 3 | 304 | No
CellaVision® DM1200 with the body fluid application | CellaVision AB | K102778 | 510(k) | 2011-09-16 | II | Comparative | Prospective | 2 | 260 | No
DeltaView Model 2.1 | Riverain Medical Group,Llc | K111776 | 510(k) | 2011-12-28 | II | Cohort | Retrospective | NR | NR | No
AlphaPoint Imaging Software | RadLogics, Inc. | K120161 | 510(k) | 2012-04-13 | II |  | NR | NR | NR | No
Tissue of Origin Test Kit FFPE | Pathwork Diagnostics, Inc. | K120489 | 510(k) | 2012-05-17 | II |  | NR | NR | NR | No
ClearRead +Confirm | Riverain Technologies | K123526 | 510(k) | 2012-12-27 | II | Cohort | NR | NR | NR | No
Vitek MS | Biomerieux, Inc. | DEN130013 | De Novo | 2013-08-21 | II |  | Prospective | 5 | 7068 | No
MALDI Biotyper CA (MBT-CA) System | Bruker Daltonics, Inc. | K130831 | 510(k) | 2013-11-21 | II | Comparative | NR | 4 | 2263 | Yes
BrainScope Ahead 100 | BrainScope Company, Inc. | DEN140025 | De Novo | 2014-11-17 | II | Case-control | Prospective | 11 | 552 | No
Hepatic VCAR | GE Medical Systems SCS | K133649 | 510(k) | 2014-04-22 | II |  | NR | NR | NR | No
Lung Density Analysis | Imbio LLC | K141069 | 510(k) | 2014-09-17 | II |  | NR | NR | NR | No
CVI42 | Circle Cardiovascular Imaging Inc | K141480 | 510(k) | 2014-08-22 | II |  | NR | NR | NR | No
Quantra | Hologic, Inc. | K142037 | 510(k) | 2014-10-10 | II | Comparative | Retrospective | NR | NR | No
IRIS Intelligent Retinal Imaging System | IRIS Intelligent Retinal Imaging Systems, LLC | K141922 | 510(k) | 2015-02-27 | II |  | NR | NR | NR | No
Personalized Physiology Analytics Engine Software | VGBio, Inc. (DBA PhysIQ) | K142512 | 510(k) | 2015-06-11 | II | Case-control | Prospective | NR | NR | No
EndoTool SubQ | Monarch Medical Technologies | K142918 | 510(k) | 2015-04-24 | II |  | NR | NR | NR | No
SnoreSounds | Appian Medical Inc. | K150102 | 510(k) | 2015-11-05 | II |  | NR | NR | NR | No
FFRct | HeartFlow, Inc. | K152733 | 510(k) | 2016-01-13 | II |  | Prospective | 11 | 254 | No
Quantib Brain 1 | Quantib BV | K153351 | 510(k) | 2016-06-17 | II | Case-control | Retrospective | Multiple | 30 | No
Volpara Imaging Software | Matakina Technology Ltd. | K153427 | 510(k) | 2016-01-07 | II |  | NR | NR | NR | No
Steth IO | Stratoscientific, Inc. | K160016 | 510(k) | 2016-07-15 | II |  | NR | NR | NR | No
Cydar EV | Cydar Ltd. | K160088 | 510(k) | 2016-07-07 | II | Cross-sectional | NR | Multiple | NR | No
Triton System | Gauss Surgical Inc. | K160338 | 510(k) | 2016-08-05 | II |  | NR | NR | NR | No
Tyto Stethoscope | Tyto Care Ltd. | K160401 | 510(k) | 2016-10-19 | II |  | NR | NR | NR | No
Ahead 300 | Brainscope Company Inc. | K161068 | 510(k) | 2016-09-22 | II | Comparative | NR | NR | 720 | No
Icobrain | Icometrix | K161148 | 510(k) | 2016-08-09 | II | Comparative | Retrospective | NR | 349 | No
ClearRead CT | Riverain Technologies, LLC | K161201 | 510(k) | 2016-09-09 | II | Cohort | NR | NR | NR | No
CT CoPilot | Zepmed, LLC | K161322 | 510(k) | 2016-12-07 | II |  | NR | NR | NR | No
LVivo Software Application | DiACardio, Ltd. | K161382 | 510(k) | 2016-07-28 | II | Cross-sectional | Retrospective | 1 | NR | No
PixelShine | AlgoMedica | K161625 | 510(k) | 2016-09-19 | II |  | NR | NR | NR | No
FFRct v2.0 | HeartFlow, Inc. | K161772 | 510(k) | 2016-08-24 | II |  | Prospective | Multiple | NR | No
One Drop Blood Glucose Monitoring System | AgaMatrix Inc. | K161834 | 510(k) | 2016-11-30 | II |  | NR | NR | NR | No
Clarius Ultrasound System | Clarius Mobile Health Corp. | K163138 | 510(k) | 2016-11-30 | II |  | NR | NR | NR | No
QVCAD System | QView Medical, Inc. | P150043 | Premarket Approval | 2016-11-09 | II | Cohort | Retrospective | 1 | 185 | No
23andMe Personal Genome Service (PGS) Genetic Health Risk Test for Hereditary Thrombophilia | 23andMe, Inc. | DEN160026 | De Novo | 2017-04-06 | II | Cohort | Prospective | NR | NR | No
QuantX | Quantitative Insights, Inc | DEN170022 | De Novo | 2017-07-19 | II | Case-control | Retrospective | 1 | 652 | No
EnsoSleep | EnsoData, Inc. | K162627 | 510(k) | 2017-03-31 | II | Cross-sectional | Retrospective | 1 | 72 | No
SIS Software | Surgical Information Sciences, Inc. | K162830 | 510(k) | 2017-02-14 | II | Comparative | Retrospective | 1 | 34 | No
Quantib Brain 1.2 | Quantib BV | K163013 | 510(k) | 2017-01-06 | II |  | NR | NR | NR | No
Arterys Cardio DL | Arterys Inc. | K163253 | 510(k) | 2017-01-05 | II |  | NR | NR | NR | No
SpectralMD DeepView Wound Imaging System 2.0 | SpectralMD, Inc. | K163339 | 510(k) | 2017-08-17 | II |  | NR | NR | NR | No
Lung Vision | Body Vision Medical Ltd. | K163622 | 510(k) | 2017-05-11 | II |  | NR | NR | NR | No
Quantra | Hologic, Inc. | K163623 | 510(k) | 2017-10-20 | II |  | Retrospective | NR | 230 | No
MATRx Plus | Zephyr Sleep Technologies | K163665 | 510(k) | 2017-05-05 | II |  | NR | NR | NR | No
Rooti Rx ECG Event Recorder, Rooti Link APP Software | Rooti Labs Ltd. | K163694 | 510(k) | 2017-11-07 | II |  | NR | NR | NR | No
AmCAD-UV | AmCad BioMed Corporation | K170069 | 510(k) | 2017-04-26 | II |  | NR | NR | NR | No
UNiD Spine Analyzer | Medicrea International | K170172 | 510(k) | 2017-05-24 | II |  | NR | NR | NR | No
SmartTarget | SmarTarget, Ltd. | K170250 | 510(k) | 2017-06-07 | II |  | NR | NR | NR | No
CardioLogs ECG Analysis Platform | Cardiologs Technologies | K170568 | 510(k) | 2017-06-26 | II |  | NR | NR | NR | No
Syngo Application Software | Siemens Medical Solutions, USA, Inc. | K170747 | 510(k) | 2017-06-09 | II |  | NR | NR | NR | No
NeuroQuant | CorTechs Labs, Inc | K170981 | 510(k) | 2017-09-07 | II | Comparative | NR | NR | NR | No
Advanced RBC Application | Cella Vision AB | K171315 | 510(k) | 2017-08-01 | II | Comparative | NR | NR | NR | No
Peerbridge Cor(TM) System | Peerbridge Health Inc. | K171936 | 510(k) | 2017-09-27 | II |  | NR | NR | NR | No
SOZO | ImpediMed Limited | K172122 | 510(k) | 2017-08-11 | II |  | NR | NR | NR | No
Clarius Ultrasound System | Clarius Mobile Health Corp. | K172385 | 510(k) | 2017-09-14 | II |  | NR | NR | NR | No
SOZO | ImpediMed Limited | K172507 | 510(k) | 2017-12-22 | II |  | NR | NR | NR | No
Infinitt PACS 7.0 | Infinitt Healthcare Co.,Ltd. | K172803 | 510(k) | 2017-10-27 | II |  | NR | NR | NR | No
Radiomics App V1.0 | Microsoft Corp. | K173420 | 510(k) | 2017-12-27 | II |  | NR | NR | NR | No
Acumen Hypotension Prediction Index (HPI) Feature Software | Edwards Lifesciences LLC | DEN160044 | De Novo | 2018-03-16 | II |  | Prospective | NR | 256 | Yes
DreaMed Advisor Pro | DreaMed Diabetes, Ltd. | DEN170043 | De Novo | 2018-06-12 | II | Comparative | Prospective | 4 | 21 | No
ContaCT | Viz.Al, Inc. | DEN170073 | De Novo | 2018-02-13 | II | Case-control | Retrospective | 2 | 300 | No
IDx-DR | IDx, LLC | DEN180001 | De Novo | 2018-04-11 | II | Case-control | Prospective | 10 | 900 | No
OsteoDetect | Imagen Technologies, Inc. | DEN180005 | De Novo | 2018-05-24 | II | Comparative | Retrospective | NR | 200 | No
DM-Density | Densitas, Inc. | K170540 | 510(k) | 2018-02-23 | II |  | NR | NR | NR | No
WAVE Clinical Platform | Excel Medical Electronics, LLC | K171056 | 510(k) | 2018-01-04 | II |  | NR | NR | NR | No
CEREC Ortho Software | Dentsply Sirona | K171122 | 510(k) | 2018-01-11 | II |  | NR | NR | NR | No
CNeuro CMRI | Combinostics Oy | K171328 | 510(k) | 2018-01-08 | II | Comparative | NR | NR | 1399 | No
PeraServer and PeraTrend | PeraHealth, Inc. | K172959 | 510(k) | 2018-05-01 | II |  | Retrospective | NR | NR | No
HealthCCS | Zebra Medical Vision Ltd. | K172983 | 510(k) | 2018-06-13 | II |  | NR | NR | NR | No
DIP/U.S. Urine Analysis Test System | Healthy.io Ltd | K173327 | 510(k) | 2018-07-18 | II | Comparative | Prospective | NR | 789 | No
Quantitative Total Extensible Imaging (QTxi) | AIQ Solutions, Inc. | K173444 | 510(k) | 2018-07-23 | II |  | NR | NR | NR | No
Arterys Oncology Dl | Arterys Inc. | K173542 | 510(k) | 2018-01-25 | II |  | NR | NR | NR | No
DenSeeMammo | STATLIFE | K173574 | 510(k) | 2018-06-26 | II |  | NR | NR | NR | No
Illumeo System | Philips Medical Systems Technologies, Ltd | K173588 | 510(k) | 2018-01-12 | II |  | NR | NR | NR | No
IQMR | Medic Vision - Imaging Solutions Ltd | K173605 | 510(k) | 2018-03-08 | II |  | NR | NR | NR | No
AMRA Profiler | AMRA Medical AB | K173749 | 510(k) | 2018-12-06 | II |  | NR | NR | NR | No
EchoMD Automated Ejection Fraction Software | Bay Labs, Inc. | K173780 | 510(k) | 2018-06-14 | II |  | Retrospective | NR | 300 | No
Ventripoint Medical System Plus (VMS+) | Ventripoint Diagnostics, Ltd. | K173810 | 510(k) | 2018-05-14 | II |  | NR | NR | NR | No
LungQ Software | Thirona Corporation | K173821 | 510(k) | 2018-06-05 | II | Comparative | Retrospective | NR | 250 | No
FibriCheck | Qompium NV | K173872 | 510(k) | 2018-09-28 | II | Case-control | NR | NR | 223 | No
Quantib Brain | Quantib BV | K173939 | 510(k) | 2018-03-09 | II | Case-control | Retrospective | NR | 45 | No
NuVasive Pulse System | NuVasive, Incorporated | K180038 | 510(k) | 2018-06-29 | II |  | NR | NR | NR | No
UNID Spine Analyzer | Medicrea International | K180091 | 510(k) | 2018-02-08 | II |  | NR | NR | NR | No
Viz CTP | Viz.ai, Inc. | K180161 | 510(k) | 2018-04-20 | II | Comparative | Retrospective | NR | NR | Yes
TransEnterix Senhance Surgical System | TransEnterix, Inc | K180163 | 510(k) | 2018-05-25 | II | Cohort | Retrospective | NR | 116 | No
LensHooke X1 Pro Semen Quality Analyzer, LensHooke X1 Semen Quality Analyzer | Bonraybio Co., Ltd. | K180343 | 510(k) | 2018-11-16 | II | Comparative | NR | NR | NR | No
AI-ECG Platform | Shenzhen Carewell Electronics., Ltd. | K180432 | 510(k) | 2018-11-19 | II |  | NR | NR | NR | No
Venue | GE Medical Systems Ultrasound and Primary Care Diagnostics, LLC | K180599 | 510(k) | 2018-05-02 | II |  | NR | NR | NR | No
BriefCase | Aidoc Medical, Ltd. | K180647 | 510(k) | 2018-08-01 | II | Case-control | Retrospective | 3 | 198 | No
Clarius Ultrasound Scanner | Clarius Mobile Health Corp. | K180799 | 510(k) | 2018-05-14 | II |  | NR | NR | NR | No
AmCAD-UO | AmCad BioMed Corporation | K180867 | 510(k) | 2018-12-28 | II |  | NR | NR | NR | No
Vitrea CT Brain Perfusion | Vital Images, Inc. | K181247 | 510(k) | 2018-11-20 | II |  | NR | NR | NR | No
Athelas One | Athelas Inc. | K181288 | 510(k) | 2018-11-05 | II | Case-control | NR | 3 | 312 | No
Zio AT ECG Monitoring System, Zeus System | IRhythm Technologies, Inc. | K181502 | 510(k) | 2018-08-29 | II |  | NR | NR | NR | No
Workflow Box | Mirada Medical Ltd. | K181572 | 510(k) | 2018-07-10 | II |  | NR | NR | NR | No
Uscan | EchoNous, Inc. | K181574 | 510(k) | 2018-07-10 | II |  | NR | NR | NR | No
Vivid E80, Vivid E90, Vivid E95 | GE Medical Systems Ultrasound and Primary Care Diagnostics, LLC | K181685 | 510(k) | 2018-10-25 | II |  | NR | NR | NR | No
Transpara | Screenpoint Medical Bv | K181704 | 510(k) | 2018-11-21 | II | Comparative | Retrospective | Multiple | NR | No
RightEye Vision System | RightEye, LLC | K181771 | 510(k) | 2018-09-28 | II |  | NR | NR | NR | No
Ziostation2 | Ziosoft, Inc. | K181892 | 510(k) | 2018-10-09 | II |  | NR | NR | NR | No
icobrain | icometrix NV | K181939 | 510(k) | 2018-11-06 | II | Comparative | Retrospective | NR | 544 | No
Arterys MICA | Arterys Inc. | K182034 | 510(k) | 2018-10-17 | II |  | NR | NR | NR | No
FFRct v2.18 | HeartFlow, Inc. | K182035 | 510(k) | 2018-12-06 | II |  | NR | NR | NR | No
Sense System with IBT Electrodes | Infinite Biomedical Technologies, LLC | K182112 | 510(k) | 2018-10-05 | II |  | NR | NR | NR | No
ISchemaView RAPID | ISchemaView, Inc. | K182130 | 510(k) | 2018-12-27 | II |  | NR | NR | NR | No
FFRangio System | CathWorks Ltd | K182149 | 510(k) | 2018-12-19 | II | Comparative | Retrospective | 4 | 203 | No
Accipiolx | MaxQ-Al Ltd. | K182177 | 510(k) | 2018-10-26 | II |  | Retrospective | 30 | 360 | No
Persyst 14 EEG Review And Analysis Software | Persyst Development Corporation | K182181 | 510(k) | 2018-11-29 | II |  | NR | NR | NR | No
FerriSmart Analysis System | Resonance Health Analysis Service Pty Ltd. | K182218 | 510(k) | 2018-11-30 | II |  | NR | NR | 971 | No
Volpara Imaging Software | Volpara Health Technologies Limited | K182310 | 510(k) | 2018-09-21 | II |  | NR | NR | NR | No
SubtlePET | Subtle Medical, Inc. | K182336 | 510(k) | 2018-11-30 | II |  | NR | NR | NR | No
PowerLook Tomo Detection V2 Software | ICAD Inc. | K182373 | 510(k) | 2018-12-06 | II | Comparative | Retrospective | NR | 260 | No
Quantib ND | Quantib BV | K182564 | 510(k) | 2018-12-27 | II | Comparative | Retrospective | NR | 122 | No
NvisionVLE Imaging System, NvisionVLE Optical Probe, NvisionVLE Inflation System | NinePoint Medical, Inc. | K182616 | 510(k) | 2018-11-02 | II | Comparative | Retrospective | 18 | 1000 | No
Cardio-TriTest v6.5 | Cardio-Phoenix Inc. | K182790 | 510(k) | 2018-12-14 | II |  | NR | NR | NR | No
VascuCAP | Elucid Bioimaging Inc. | K183012 | 510(k) | 2018-12-21 | II | Comparative | Retrospective | NR | NR | No
Loop System | Spry Health, Inc. | K181352 | 510(k) | 2019-03-29 | II | Comparative | Prospective | NR | 12 | No
KardiaAI | AliveCor, Inc. | K181823 | 510(k) | 2019-03-11 | II |  | NR | NR | NR | No
D-Nav System | Hygieia, Inc | K181916 | 510(k) | 2019-02-04 | II |  | NR | NR | NR | No
EMurmur ID | CSD Labs GmbH | K181988 | 510(k) | 2019-04-17 | II | Comparative | Retrospective | NR | 120 | No
RhythmAnalytics | Biofourmis Singapore Pte. Ltd. | K182344 | 510(k) | 2019-03-07 | II |  | NR | NR | NR | No
ACR ¦ LAB Urine Analysis Test System | Healthy.Io Ltd | K182384 | 510(k) | 2019-07-26 | II | Comparative | Prospective | 3 | 435 | No
Study Watch | Verily Life Sciences Llc | K182456 | 510(k) | 2019-01-17 | II | Comparative | NR | NR | NR | No
FluChip-8G Influenza A+B Assay | InDevR, Inc. | K182513 | 510(k) | 2019-04-22 | II |  | Retrospective | NR | 759 | No
KIDScore D3 | Vitrolife A/S | K182798 | 510(k) | 2019-07-19 | II | Case-control | Retrospective | Multiple | 1338 | No
DeepCT | Deep01 Limited | K182875 | 510(k) | 2019-07-10 | II | Case-control | Retrospective | Multiple | 260 | No
Aquilion Precision (TSX-304A/1 And /2) V8.8 With AiCE | Canon Medical Systems Corporation | K182901 | 510(k) | 2019-07-05 | II |  | NR | NR | NR | No
SIS Software Version 3.3.0 | Surgical Information Sciences, Inc. | K183019 | 510(k) | 2019-03-19 | II | Comparative | Retrospective | NR | 68 | No
Aquilion ONE (TSX-305A/6) V8.9 With AiCE | Canon Medical Systems Corporation | K183046 | 510(k) | 2019-06-12 | II |  | NR | NR | NR | No
MRCP+ V1.0 | Perspectum Diagnostics Ltd | K183133 | 510(k) | 2019-01-09 | II | Cohort | NR | NR | NR | No
Critical Care Suite | GE Medical Systems, LLC | K183182 | 510(k) | 2019-08-12 | II | Comparative | Retrospective | Multiple | 804 | No
Deep Learning Image Reconstruction | GE Medical Systems, LLC | K183202 | 510(k) | 2019-04-12 | II | Comparative | Retrospective | NR | 60 | No
Bone VCAR (BVCAR) | GE Medical Systems SCS | K183204 | 510(k) | 2019-04-08 | II | Comparative | Retrospective | NR | NR | No
AI-Rad Companion (Cardiovascular) | Siemens Medical Solutions USA, Inc. | K183268 | 510(k) | 2019-09-10 | II | Cohort | Retrospective | Multiple | 574 | No
AI-Rad Companion (Pulmonary) | Siemens Medical Solutions USA, Inc. | K183271 | 510(k) | 2019-07-26 | II | Cohort | Retrospective | NR | >4500 | No
AI Rad Companion (Engine) | Siemens Medical Solutions USA, Inc. | K183272 | 510(k) | 2019-02-01 | II |  | NR | NR | NR | No
RTHawk, HeartVista Cardiac Package | HeartVista, Inc. | K183274 | 510(k) | 2019-10-18 | II |  | NR | NR | NR | No
Biovitals Analytics Engine | Biofourmis Singapore Pte. Ltd | K183282 | 510(k) | 2019-08-15 | II | Comparative | Prospective | 1 | 50 | No
Cmtriage | Curemetrix, Inc | K183285 | 510(k) | 2019-03-08 | II | Cross-sectional | Retrospective | Multiple | 1255 | No
PhysIQ Heart Rhythm and Respiratory Module | PhysIQ, Inc | K183322 | 510(k) | 2019-07-10 | II | Comparative | Retrospective | NR | NR | No
PeraMobile and PeraWatch | PeraHealth, Inc. | K183370 | 510(k) | 2019-09-11 | II |  | NR | NR | NR | No
ClariCT AI | ClariPI Inc. | K183460 | 510(k) | 2019-06-13 | II |  | NR | NR | NR | No
D2P | 3D Systems, Inc. | K183489 | 510(k) | 2019-08-29 | II |  | NR | NR | NR | No
Lung Vision System | Body Vision Medical Ltd. | K183593 | 510(k) | 2019-04-18 | II |  | NR | NR | NR | No
Acumen Hypotension Prediction Index - EV1000 Clinical Platform, Acumen Hypotension Prediction Index - Hemosphere Advanced Monitoring Platform, Acumen Hypotension Prediction Index, Hemosphere Advanced Monitoring Platform - Pressure | Edwards Lifeciences, LLC | K183646 | 510(k) | 2019-05-21 | II |  | NR | NR | NR | No
APAS Independence with Urine Analysis Module | Clever Culture Systems AG | K183648 | 510(k) | 2019-05-15 | II | Comparative | Retrospective | NR | 350 | No
Rx-1 Rhythm Express Remote Cardiac Monitoring System | Vivaquant Inc. | K183704 | 510(k) | 2019-02-16 | II |  | NR | NR | NR | No
WellDoc BlueStar | WellDoc, Inc | K190013 | 510(k) | 2019-11-04 | II |  | NR | NR | NR | No
Livermultiscan (LMSv3) | Perspectum Diagnostics Ltd | K190017 | 510(k) | 2019-06-27 | II |  | NR | NR | NR | No
Briefcase | Aidoc Medical, Ltd. | K190072 | 510(k) | 2019-04-15 | II | Case-control | Retrospective | 3 | 184 | No
MIMOSA Imager | MIMOSA Diagnostics Inc. | K190334 | 510(k) | 2019-11-01 | II | Comparative | NR | NR | 39 | No
HealthPNX | Zebra Medical Vision Ltd. | K190362 | 510(k) | 2019-05-06 | II | Cohort | Retrospective | Multiple | 588 | No
Healthich | Zebra Medical Vision Ltd. | K190424 | 510(k) | 2019-06-13 | II | Cohort | Retrospective | NR | 427 | No
Koios DS For Breast | Koios Medical, Inc. | K190442 | 510(k) | 2019-07-03 | II | RCT | Retrospective | NR | 900 | No
SOZO | ImpediMed Limited | K190529 | 510(k) | 2019-11-25 | II |  | NR | NR | NR | No
SurgicalAR | MEDIVIS, Inc. | K190764 | 510(k) | 2019-05-13 | II |  | NR | NR | NR | No
Brainscope TBI | BrainScope Company, Inc. | K190815 | 510(k) | 2019-09-11 | II | Case-control | Retrospective | NR | 580 | No
Cleerly Labs | Cleerly Inc | K190868 | 510(k) | 2019-11-05 | II |  | NR | NR | NR | No
BriefCase | Aidoc Medical, Ltd. | K190896 | 510(k) | 2019-05-31 | II | Case-control | Retrospective | 3 | 186 | No
HeartfFow FFRct Analysis | HeartFlow, Inc. | K190925 | 510(k) | 2019-08-15 | II |  | NR | NR | NR | No
MEDIP PRO | MEDICAL IP Co., Ltd. | K191026 | 510(k) | 2019-11-07 | II |  | NR | NR | NR | No
COMPLETE CONTROL System Gen2 | Coapt, LLC | K191083 | 510(k) | 2019-05-24 | II |  | NR | NR | NR | No
EchoGo Core | Ultromics Ltd. | K191171 | 510(k) | 2019-11-13 | II |  | Retrospective | NR | 376 | No
Myo Plus | Otto Bock Healthcare Products GmbH | K191179 | 510(k) | 2019-09-04 | II |  | NR | NR | NR | No
CLARUS | Carl Zeiss Meditec, Inc | K191194 | 510(k) | 2019-06-25 | II | Comparative | Retrospective | NR | 20 | No
ABSI | EXINI Diagnostics AB | K191262 | 510(k) | 2019-08-05 | II | RCT | Prospective | 241 | 721 | No
RSI-MRI+ | Multimodal Imaging Services Corporation (Dba HealthLytix) | K191278 | 510(k) | 2019-11-19 | II |  | Retrospective | NR | NR | No
RayCare 2.3 | RaySearch Laboratories AB (Publ) | K191384 | 510(k) | 2019-07-08 | II |  | NR | NR | NR | No
Ventripoint Medical System Plus (VMS+) 3.0 | Ventripoint Diagnostics Ltd. | K191493 | 510(k) | 2019-10-16 | II |  | NR | NR | NR | No
INtuition-Structural Heart Module | TeraRecon Inc. | K191585 | 510(k) | 2019-07-12 | II |  | NR | NR | NR | No
Qlab Advanced Quantification Software | Philips Healthcare | K191647 | 510(k) | 2019-12-20 | II |  | NR | NR | NR | No
SubtleMR | Subtle Medical Inc. | K191688 | 510(k) | 2019-09-16 | II | Comparative | Retrospective | NR | NR | No
CS-Series-FP Radiographic / Fluoroscopic Systems With Optional CA-100S / FluoroShield¿ (ROI Assembly) | Omega Medical Imaging, LLC | K191713 | 510(k) | 2019-10-04 | II |  | Prospective | NR | 100 | No
ProFound AI Software V2.1 | ICAD Inc. | K191994 | 510(k) | 2019-10-04 | II | Case-control | Retrospective | 1 | 694 | No
Clarius Ultrasound Scanner | Clarius Mobile Health Corp. | K192107 | 510(k) | 2019-08-29 | II |  | NR | NR | NR | No
Koala | IB Lab Gmbh | K192109 | 510(k) | 2019-11-05 | II | Cohort | Retrospective | NR | 6597 | No
icobrain | icometrix NV | K192130 | 510(k) | 2019-12-13 | II | Comparative | Retrospective | NR | 1081 | No
PhantomMSK Trauma | OrthoGrid Systems Inc. | K192279 | 510(k) | 2019-12-07 | II |  | NR | NR | NR | No
Transpara | Screenpoint Medical B.V. | K192287 | 510(k) | 2019-12-10 | II |  | NR | NR | NR | No
SIS Software Version 3.6.0 | Surgical Information Sciences, Inc. | K192304 | 510(k) | 2019-09-13 | II |  | NR | NR | NR | No
HealthCXR | Zebra Medical Vision Ltd. | K192320 | 510(k) | 2019-11-26 | II | Cohort | Retrospective | Multiple | 554 | No
BriefCase | Aidoc Medical, Ltd. | K192383 | 510(k) | 2019-12-20 | II | Cross-sectional | Retrospective | 3 | 383 | No
FFRangio | CathWorks Ltd | K192442 | 510(k) | 2019-12-09 | II |  | NR | NR | NR | No
QyScore Software | Qynapse | K192531 | 510(k) | 2019-12-13 | II |  | NR | NR | NR | No
NemoScan | Software Nemotec S.L. | K192571 | 510(k) | 2019-12-11 | II |  | NR | NR | NR | No
Syngo.CT CaScoring | Siemens Medical Solutions USA, Inc. | K192763 | 510(k) | 2019-12-17 | II |  | NR | NR | NR | No
7D Surgical System Cranial Biopsy and Ventricular Catheter Placement Application | 7D Surgical Inc. | K192945 | 510(k) | 2019-11-27 | II |  | NR | NR | NR | No
Deep Learning Image Reconstruction | GE Healthcare Japan Corporation | K193170 | 510(k) | 2019-12-13 | II | Cohort | Retrospective | NR | 60 | No
Caption Guidance | Bay Labs, Inc. | DEN190040 | De Novo | 2020-02-07 | II | Case-control | Prospective | 1 | 50 | No
Air Next | NuvoAir AB | K183089 | 510(k) | 2020-01-02 | II |  | NR | NR | NR | No
ADAS 3D | Galgo Medical S.L | K191125 | 510(k) | 2020-01-15 | II |  | NR | NR | NR | No
Broncholab | Fluidda Inc. | K191550 | 510(k) | 2020-03-04 | II |  | NR | NR | NR | No
Red Dot | Behold.AI Technologies Limited | K191556 | 510(k) | 2020-02-28 | II | Case-control | Retrospective | 2 | 738 | No
AccuContour | Xiamen Manteia Technology Ltd. | K191928 | 510(k) | 2020-02-28 | II | Case-control | Retrospective | NR | NR | No
Eko Analysis Software | Eko Devices Inc | K192004 | 510(k) | 2020-01-15 | II | Cross-sectional | Retrospective | NR | 2117 | No
THINQ | CorticoMetrics LLC | K192051 | 510(k) | 2020-09-30 | II | Cross-sectional | Retrospective | NR | 645 | No
CuraRad-ICH | CuraCloud Corp. | K192167 | 510(k) | 2020-04-13 | II | Case-control | Retrospective | 296 | 388 | No
Ethos Treatment Management, Ethos Treatment Planning, Ethos Radiotherapy System, Halcyon | Varian Medical Systems, Inc. | K192377 | 510(k) | 2020-02-10 | II |  | NR | NR | NR | No
SonoVision Ultrasound Imaging System | Tissue Differentiation Intelligence, LLC | K192388 | 510(k) | 2020-03-12 | II |  | NR | NR | NR | No
Study Watch with Irregular Pulse Monitor | Verily Life Sciences LLC | K192415 | 510(k) | 2020-01-17 | II | Comparative | NR | NR | NR | No
Arterys MICA | Arterys Inc. | K192437 | 510(k) | 2020-03-25 | II |  | NR | NR | NR | No
Vantage Galan 3T, MRT-3020, V6.0 With AiCE Reconstruction Processing Unit For MR | Canon Medical Systems Corporation | K192574 | 510(k) | 2020-03-09 | II | Case-control | Retrospective | NR | 160 | No
MR Image Post-Processing Software | Shanghai United Imaging Healthcare Co., Ltd | K192601 | 510(k) | 2020-06-01 | II |  | NR | NR | NR | NR
Bodyguardian Remote Monitoring System | Preventice Technologies, Inc. | K192732 | 510(k) | 2020-03-26 | II |  | NR | NR | NR | No
Aquilion ONE (TSX-306A/3) V10.0 With Spectral Imaging System | Canon Medical Systems Corporation | K192828 | 510(k) | 2020-02-13 | II | Comparative | Retrospective | NR | NR | No
MammoScreen | Therapixel | K192854 | 510(k) | 2020-03-25 | II | Cohort | Retrospective | 1 | 240 | No
InferRead Lung CT.AI | Beijing Infervision Technology Co.,Ltd. | K192880 | 510(k) | 2020-07-02 | II | Cohort | Retrospective | 1 | 249 | No
HealthVCF | Zebra Medical Vision Ltd. | K192901 | 510(k) | 2020-05-12 | II | Cohort | Retrospective | Multiple | 611 | No
Auto Positioning | GE Hangwei Medical Systems, Co., Ltd. | K192956 | 510(k) | 2020-01-16 | II |  | NR | NR | NR | No
icobrain-ctp | icometrix NV | K192962 | 510(k) | 2020-02-28 | II | Comparative | Retrospective | NR | NR | No
Ezra Plexo Software | Ezra AI Inc. | K192969 | 510(k) | 2020-07-10 | II | Cohort | NR | NR | 150 | No
Densitas Densityai | Densitas, Inc. | K192973 | 510(k) | 2020-02-19 | II |  | NR | NR | NR | No
Deep Recon | Shanghai United Imaging Healthcare Co., Ltd. | K193073 | 510(k) | 2020-07-06 | II |  | Retrospective | 1 | 120 | No
Rapid ICH | ISchemaView Incorporated | K193087 | 510(k) | 2020-03-31 | II | Case-control | Retrospective | Multiple | 336 | No
Vantage Orian 1.5T, MRT-1550, V6.0 With AiCE Reconstruction Processing Unit For MR | Canon Medical Systems Corporation | K193097 | 510(k) | 2020-07-14 | II | Cohort | NR | NR | 160 | No
MRCAT Brain | Philips Medical Systems MR Finland | K193109 | 510(k) | 2020-01-24 | II |  | NR | NR | NR | No
uMR 780 | Shanghai United Imaging Healthcare Co., Ltd. | K193176 | 510(k) | 2020-05-05 | II |  | NR | NR | NR | No
HYPER DLR | Shanghai United Imaging Healthcare Co., Ltd. | K193210 | 510(k) | 2020-08-04 | II | Comparative | Retrospective | NR | 1330 | No
Syngo.CT Lung CAD | Siemens Medical Solutions, Inc | K193216 | 510(k) | 2020-03-09 | II |  | NR | NR | NR | No
AVIEW LCS | Coreline Soft Co., Ltd | K193220 | 510(k) | 2020-05-05 | II | Cohort | Retrospective | NR | 16460 | No
Transpara | Screenpoint Medical B.V. | K193229 | 510(k) | 2020-03-05 | II | Comparative | Retrospective | NR | 240 | No
Contour ProtégéAI | MIM Software, Inc. | K193252 | 510(k) | 2020-07-02 | II |  | Retrospective | NR | 358 | No
Al-Rad Companion (Musculoskeletal) | Siemens Medical Solutions USA, Inc. | K193267 | 510(k) | 2020-03-16 | II | Comparative | Retrospective | Multiple | 140 | No
Hepatic VCAR | GE Medical Systems SCS | K193281 | 510(k) | 2020-03-20 | II | Cross-sectional | Retrospective | NR | NR | No
Signa Premier | GE Healthcare (GE Medical Systems, LLC) | K193282 | 510(k) | 2020-04-10 | II | Cross-sectional | Retrospective | NR | NR | No
AI-Rad Companion Prostate MR | Siemens Medical Solutions USA Inc | K193283 | 510(k) | 2020-07-30 | II |  | NR | NR | NR | No
CorInsights MRI | ADM Diagnostics | K193287 | 510(k) | 2020-11-20 | II | Comparative | Retrospective | NR | 80 | No
FastStroke, CT Perfusion 4D | GE Medical Systems SCS | K193289 | 510(k) | 2020-11-12 | II |  | NR | NR | NR | No
AI-Rad Companion Brain MR | Siemens Medical Solutions USA, Inc. | K193290 | 510(k) | 2020-06-17 | II |  | NR | NR | NR | No
AI-Rad Companion Engine | Siemens Medical Solutions USA, Inc. | K193294 | 510(k) | 2020-07-10 | II |  | NR | NR | NR | No
BriefCase | Aidoc Medical, Ltd. | K193298 | 510(k) | 2020-06-19 | II | Case-control | Retrospective | 3 | 184 | No
AIMI-Triage CXR PTX | RADLogics, Inc. | K193300 | 510(k) | 2020-04-08 | II | Cross-sectional | Retrospective | Multiple | 300 | No
PROView | GE Medical Systems SCS | K193306 | 510(k) | 2020-11-17 | II |  | NR | NR | NR | No
NinesAI | Nines, Inc. | K193351 | 510(k) | 2020-04-21 | II |  | Retrospective | 20 | NR | No
FractureDetect (FX) | Imagen Technologies, Inc. | K193417 | 510(k) | 2020-07-30 | II | Cohort | Retrospective | NR | 175 | No
KOSMOS | EchoNous, Inc. | K193518 | 510(k) | 2020-03-26 | II |  | NR | NR | NR | No
AI-Rad Companion Organs RT | Siemens Medical Solutions USA, Inc. | K193562 | 510(k) | 2020-11-06 | II | Comparative | Retrospective | NR | 113 | No
Stethee Pro 1, Stethee Pro Software System | M3DICINE Pty Ltd. | K193631 | 510(k) | 2020-10-09 | II |  | NR | NR | NR | No
Viz ICH | Viz.Ai, Inc. | K193658 | 510(k) | 2020-03-18 | II | Case-control | Retrospective | 2 | 261 | No
AI-ECG Tracker | Shenzhen Carewell Electronics Co., Ltd. | K200036 | 510(k) | 2020-03-20 | II |  | NR | NR | NR | No
LVivo Software Application | DiA Imaging Analysis Ltd | K200232 | 510(k) | 2020-06-23 | II |  | Retrospective | 1 | 226 | No
Autocontour | Radformation, Inc. | K200323 | 510(k) | 2020-10-30 | II | Cohort | NR | NR | NR | No
MEDO ARIA | MEDO.ai | K200356 | 510(k) | 2020-06-11 | II |  | NR | NR | NR | No
CellaVision DC-1, CellaVision DC-1 PPA | CellaVision AB | K200595 | 510(k) | 2020-10-16 | II | Comparative | Prospective | 3 | 598 | No
EyeArt | Eyenuk, Inc | K200667 | 510(k) | 2020-08-03 | II | Cohort | Prospective | 11 | 942 | No
Vivid iq | GE Medical Systems Ultrasound and Primary Care Diagnostics, LLC | K200708 | 510(k) | 2020-09-09 | II |  | NR | NR | NR | No
AVIEW | Coreline Soft Co., Ltd. | K200714 | 510(k) | 2020-08-26 | II |  | NR | NR | NR | No
Vivid E80/ Vivid E90/ Vivid E95 | GE Medical Systems Ultrasound and Primary Care Diagnostics, LLC | K200743 | 510(k) | 2020-07-23 | II |  | NR | NR | NR | No
Neuro.Al Algorithm | TeraRecon, Inc. | K200750 | 510(k) | 2020-11-06 | II |  | NR | NR | NR | No
Caption Guidance | Caption Health, Inc. | K200755 | 510(k) | 2020-04-16 | II |  | Retrospective | NR | NR | No
Rapid ASPECTS | ISchemaView Inc. | K200760 | 510(k) | 2020-06-26 | II | Comparative | Retrospective | 1 | 50 | No
RX-1 Rhythm Express Remote Cardiac Monitoring System | VivaQuant Inc. | K200833 | 510(k) | 2020-09-02 | II |  | NR | NR | NR | No
Vivid T8, Vivid T9 | GE Medical Systems Ultrasound and Primary Care Diagnostics, LLC | K200851 | 510(k) | 2020-09-09 | II |  | NR | NR | NR | No
EchoPAC Software Only, EchoPAC Plug-In | GE Medical Systems Ultrasound and Primary Care Diagnostics, LLC | K200852 | 510(k) | 2020-09-18 | II |  | NR | NR | NR | No
CINA | AVICENNA.AI | K200855 | 510(k) | 2020-06-24 | II |  | Retrospective | 3 | 1290 | No
HALO | NICo-Lab B.V. | K200873 | 510(k) | 2020-11-20 | II | Cohort | Retrospective | NR | 348 | No
HealthMammo | Zebra Medical Vision Ltd. | K200905 | 510(k) | 2020-07-16 | II | Case-control | Retrospective | NR | 835 | No
QER | Qure.Ai Technologies | K200921 | 510(k) | 2020-06-17 | II | Case-control | Retrospective | Multiple | 1320 | No
QLAB Advanced Quantification Software | Philips Healthcare | K200974 | 510(k) | 2020-06-03 | II |  | NR | NR | NR | NR
Auto 3D Bladder Volume Tool | Butterfly Network, Inc. | K200980 | 510(k) | 2020-06-11 | II | Cross-sectional | Retrospective | NR | NR | No
Vida¦Vision | Vida Diagnostics Inc. | K200990 | 510(k) | 2020-08-07 | II |  | NR | NR | NR | No
Genius AI Detection | Hologic, Inc. | K201019 | 510(k) | 2020-11-18 | II | Cross-sectional | Retrospective | NR | 764 | NR
BriefCase | Aidoc Medical, Ltd. | K201020 | 510(k) | 2020-08-26 | II | Case-control | Retrospective | 2 | 268 | No
HepaFat-AI | Resonance Health Analysis Services Pty Ltd. | K201039 | 510(k) | 2020-12-07 | II | Cross-sectional | Retrospective | 2 | 145 | No
Xeleris V Processing And Review Systems | GE Healthcare | K201103 | 510(k) | 2020-09-25 | II | Comparative | NR | NR | NR | No
syngo.via MI Workflows, syngo MBF | Siemens Medical Solutions USA, Inc. | K201195 | 510(k) | 2020-11-18 | II |  | NR | NR | NR | NR
Limbus Contour | Limbus Ai Inc. | K201232 | 510(k) | 2020-08-13 | II |  | NR | NR | NR | No
VX1 | Volta Medical | K201298 | 510(k) | 2020-09-16 | II | Cohort | NR | 8 | 200 | No
X100 With Full Field Peripheral Blood Smear (Pbs) Application | Scopio Labs Ltd. | K201301 | 510(k) | 2020-10-02 | II | Case-control | Prospective | 3 | 645 | No
Accipiolx | MaxQ Al Ltd. | K201310 | 510(k) | 2020-08-07 | II | Cohort | Retrospective | NR | 360 | No
AVA (Augmented Vascular Analysis) | See-Mode Technologies Pte. Ltd. | K201369 | 510(k) | 2020-09-16 | II | Comparative | Retrospective | NR | 205 | No
syngo.via RT Image Suite | Siemens Medical Solutions USA, Inc. | K201444 | 510(k) | 2020-08-13 | II | Cohort | NR | NR | 112 | No
EchoGo Pro | Ultromics Ltd. | K201555 | 510(k) | 2020-12-18 | II | Comparative | NR | NR | NR | No
Tomtec-Arena | Tomtec Imaging Systems Gmbh | K201632 | 510(k) | 2020-08-14 | II |  | NR | NR | NR | No
A View LCS | Coreline Soft Co., Ltd. | K201710 | 510(k) | 2020-10-16 | II |  | NR | NR | NR | No
Deep Learning Image Reconstruction For Gemstone Spectral Imaging | GE Medical Systems, LLC | K201745 | 510(k) | 2020-12-10 | II | Comparative | Retrospective | NR | 40 | No
Caption Guidance | Caption Health | K201992 | 510(k) | 2020-09-18 | II |  | NR | NR | NR | No
WRDensity by Whiterabbit.ai | Whiterabbit.ai Inc. | K202013 | 510(k) | 2020-10-30 | II | Comparative | NR | NR | 871 | No
Lenshooke X1 Pro Semen Quality Analyzer, Lenshooke X1 Pro Se Semen Quality Analyzer | Bonraybio Co., Ltd. | K202089 | 510(k) | 2020-10-28 | II |  | NR | NR | NR | No
LiverMultiScan | Perspectum Ltd. | K202170 | 510(k) | 2020-10-02 | II | Cohort | Prospective | NR | NR | No
AI Metrics | AI Metrics, LLC | K202229 | 510(k) | 2020-12-22 | II |  | NR | NR | NR | No
Cleerly Labs V2.0 | Cleerly, Inc. | K202280 | 510(k) | 2020-10-02 | II |  | NR | NR | NR | No
HealthJOINT | Zebra Medical Vision Ltd. | K202487 | 510(k) | 2020-12-04 | II | Comparative | Retrospective | NR | 67 | No
Quantib Prostate | Quantib BV | K202501 | 510(k) | 2020-10-11 | II | Comparative | NR | NR | NR | No
LVivo Seamless | DiA Imaging Analysis Ltd | K202546 | 510(k) | 2020-09-29 | II |  | NR | NR | NR | NR
Aquilion Exceed LB (TSX-202A/3) V10.6 With AiCE-I | Canon Medical Systems Corporation | K203042 | 510(k) | 2020-12-10 | II | Comparative | NR | NR | NR | No
BriefCase | Aidoc Medical, Ltd. | K203508 | 510(k) | 2020-12-29 | II |  | NR | NR | NR | No
Oxehealth Vital Signs | Oxehealth Limited | DEN200019 | De Novo | 2021-03-26 | II | Cross-sectional | Prospective | NR | 60 | No
Analytic for Hemodynamic Instability (AHI) | Fifth Eye Inc. | DEN200022 | De Novo | 2021-03-01 | II | Cross-sectional | Prospective | 1 | 222 | No
Feops HEARTguide | Feops NV | DEN200030 | De Novo | 2021-09-08 | II | Comparative | Retrospective | 5 | 60 | No
Gili Pro Biosensor (Also Known as Gili Biosensor System) | Continuse Biometrics Ltd. | DEN200038 | De Novo | 2021-04-01 | II | Case-control | Prospective | NR | 130 | No
GI Genius | Cosmo Artificial Intelligence - AI, Ltd. | DEN200055 | De Novo | 2021-04-09 | II | Case-control | Prospective | NR | 700 | No
Cognoa Asd Diagnosis Aid | Cognoa, Inc. | DEN200069 | De Novo | 2021-06-02 | II | Cohort | Prospective | 14 | 711 | No
Paige Prostate | Paige.AI | DEN200080 | De Novo | 2021-09-21 | II | Case-control | Retrospective | 217 | 728 | No
UAI Easytriage-Rib | Shanghai United Imaging Intelligence Co., Ltd. | K193271 | 510(k) | 2021-01-15 | II | Cross-sectional | Retrospective | NR | 200 | No
CLEWICU System (ClewICUserver and ClewICUnitor) | Clew Medical Ltd. | K200717 | 510(k) | 2021-01-09 | II | Cross-sectional | Retrospective | 2 | NR | No
Syngo.CT CaScoring | Siemens Medical Solutions USA, Inc. | K201034 | 510(k) | 2021-05-14 | II | Cross-sectional | NR | NR | NR | No
Visage Breast Density | Visage Imaging GmbH | K201411 | 510(k) | 2021-01-29 | II | Comparative | Retrospective | 2 | 1200 | No
Auto Lung Nodule Detection | Samsung Electronics Co.,Ltd. | K201560 | 510(k) | 2021-08-31 | II | Case-control | NR | NR | NR | No
Aquilion Lightning (TSX-036A/7) V10.2 With AiCE-I | Canon Medical Systems Corporation | K201836 | 510(k) | 2021-01-12 | II |  | NR | NR | NR | No
Truplan | Circle Cardiovascular Imaging Inc. | K202212 | 510(k) | 2021-02-19 | II |  | NR | NR | NR | No
Oncospace | Oncospace, Inc. | K202284 | 510(k) | 2021-03-12 | II | Comparative | Retrospective | NR | NR | NR
Optellum Virtual Nodule Clinic, Optellum Software, Optellum Platform | Optellum Ltd | K202300 | 510(k) | 2021-03-05 | II | Case-control | Retrospective | 9 | 300 | No
BoneMRI | MRIguidance B.V | K202404 | 510(k) | 2021-12-22 | II | Cross-sectional | Retrospective | NR | 61 | No
BrainInsight | Hyperfine Research, Inc. | K202414 | 510(k) | 2021-01-07 | II |  | NR | NR | NR | No
Eclipse II with Smart Noise Cancellation | Carestream Health, Inc. | K202441 | 510(k) | 2021-04-02 | II | Cross-sectional | NR | NR | NR | No
Zio ECG Utilization Software (ZEUS) System | iRhythm Technologies, Inc. | K202527 | 510(k) | 2021-05-21 | II |  | NR | NR | NR | No
ART-Plan | TheraPanacea | K202700 | 510(k) | 2021-01-14 | II |  | NR | NR | NR | No
Qmenta Care Platform Family | Mint Labs, Inc., D/B/A. QMENTA | K202718 | 510(k) | 2021-06-16 | II |  | NR | NR | 15 | No
Vantage Orian 1.5T, MRT-1550, V6.0 | Canon Medical Systems Corporation | K202767 | 510(k) | 2021-01-15 | II | Comparative | NR | NR | NR | NR
DV.Target | DeepVoxel, Inc. | K202928 | 510(k) | 2021-04-02 | II | Comparative | Retrospective | NR | 19 | Yes
NinesMeasure | Nines, Inc. | K202990 | 510(k) | 2021-02-25 | II | Comparative | Retrospective | 11 | NR | No
BriefCase, RIB Fractures Triage (RibFx) | Aidoc Medical, Ltd. | K202992 | 510(k) | 2021-04-14 | II | Case-control | Retrospective | 3 | 279 | No
Synapse 3D, Synapse 3D Base Tools v6.1 | Fujifilm Corporation | K203103 | 510(k) | 2021-02-09 | II |  | NR | NR | NR | No
SubtleMR | Subtle Medical, Inc. | K203182 | 510(k) | 2021-02-26 | II | Comparative | Retrospective | NR | NR | NR
AquilionONE(TSX‐306A/3)V10.4withSpectralImagingSystem | CanonMedicalSystemsCorporation | K203225 | 510(k) | 2021-03-24 | II | Cross-sectional | NR | NR | NR | No
VBrain | Vysioneer Inc. | K203235 | 510(k) | 2021-03-19 | II | Comparative | Retrospective | 4 | 116 | No
Imbio RV/LV Software | Imbio, LLC | K203256 | 510(k) | 2021-03-09 | II | Cross-sectional | NR | NR | NR | No
syngo.CT Lung CAD (Version VD20) | Siemens Healthcare GmbH | K203258 | 510(k) | 2021-03-31 | II | Case-control | NR | NR | 232 | No
Hepatica V1 (Hepatica V1.0.0) | Perspectum Ltd. | K203280 | 510(k) | 2021-01-12 | II | Cross-sectional | NR | NR | NR | No
Vantage Galan 3T, MRT-3020, V6.0 with AiCE Reconstruction Processing Unit for MR | Canon Medical Systems Corporation | K203323 | 510(k) | 2021-03-04 | II | Cross-sectional | Retrospective | NR | 345 | NR
HeartFlow Analysis | HeartFlow, Inc. | K203329 | 510(k) | 2021-01-08 | II |  | NR | NR | NR | No
uCT ATLAS with uWS-CT-Dual Energy Analysis | Shanghai United Imaging Healthcare Co., Ltd. | K203448 | 510(k) | 2021-08-11 | II |  | NR | NR | NR | No
AI Segmentation | Varian Medical Systems | K203469 | 510(k) | 2021-04-19 | II |  | NR | NR | NR | No
MEDO-Thyroid | MEDO DX Pte. Ltd. | K203502 | 510(k) | 2021-04-23 | II | Cohort | NR | NR | NR | No
Precise Position | Philips Healthcare (Suzhou) Co., Ltd. | K203514 | 510(k) | 2021-06-17 | II | Case-control | NR | NR | 80 | No
Saige-Q | DeepHealth, Inc. | K203517 | 510(k) | 2021-04-16 | II | Case-control | Retrospective | 8 | 1333 | No
AmCAD-UT | AmCad BioMed Corporation | K203555 | 510(k) | 2021-09-08 | II |  | NR | NR | NR | No
OTIS 2.1 Optical Coherence Tomography System, THiA Optical Coherence Tomography System | Perimeter Medical Imaging AI, Inc. | K203578 | 510(k) | 2021-02-25 | II |  | NR | NR | NR | No
QUIBIM Precision Prostate (qp-Prostate) | QUIBIM S.L. | K203582 | 510(k) | 2021-02-04 | II | Cross-sectional | Retrospective | 3 | 157 | No
Automatic Anatomy Recognition (AAR) | Quantitative Radiology Solutions, LLC | K203610 | 510(k) | 2021-04-20 | II |  | NR | NR | NR | No
MaxFOV 2 | GE Medical Systems, LLC. | K203617 | 510(k) | 2021-03-02 | II | Cross-sectional | NR | NR | 49 | NR
IDx-DR | Digital Diagnostics Inc. | K203629 | 510(k) | 2021-06-10 | II |  | NR | NR | NR | No
RBknee | Radiobotics ApS | K203696 | 510(k) | 2021-08-27 | II | Cross-sectional | Retrospective | NR | 4279 | Yes
ClariSIGMAM | ClariPi Inc. | K203785 | 510(k) | 2021-09-10 | II | Comparative | NR | NR | 837 | NR
ProFound AI Software V3.0 | iCAD Inc. | K203822 | 510(k) | 2021-03-12 | II | Comparative | NR | NR | NR | NR
HYPER AiR | Shanghai United Imaging Healthcare Co.,Ltd. | K210001 | 510(k) | 2021-04-30 | II | Comparative | NR | NR | NR | No
EnsoSleep | EnsoData, Inc. | K210034 | 510(k) | 2021-06-16 | II | Case-control | Retrospective | 5 | 147 | No
LVivo Software Application | DiA Imaging Analysis Ltd. | K210053 | 510(k) | 2021-02-05 | II | Case-control | Retrospective | NR | 100 | No
SIS System (Version 5.1.0) | Surgical Information Sciences, Inc. | K210071 | 510(k) | 2021-03-31 | II | Cohort | NR | NR | 43 | No
HealthCCSng | Zebra Medical Vision Ltd. | K210085 | 510(k) | 2021-09-15 | II | Comparative | Retrospective | NR | 447 | No
Overjet Dental Assist | Overjet, Inc. | K210187 | 510(k) | 2021-05-19 | II | Comparative | Retrospective | NR | 161 | No
Viz ICH | Viz.Ai, Inc. | K210209 | 510(k) | 2021-03-23 | II | Case-control | Retrospective | 2 | 387 | No
CINA CHEST | Avicenna.AI | K210237 | 510(k) | 2021-05-19 | II | Cross-sectional | Retrospective | 430 | 694 | No
Transpara 1.7.0 | ScreenPoint Medical B.V. | K210404 | 510(k) | 2021-06-02 | II | Case-control | NR | NR | 9122 | No
HS40 Diagnostic Ultrasound System | Samsung Medison Co., Ltd. | K210426 | 510(k) | 2021-05-13 | II |  | NR | NR | NR | No
Versana Premier | GE Medical Systems Ultrasound And Primary Care Diagnostics | K210438 | 510(k) | 2021-09-10 | II |  | NR | NR | NR | NR
LINQ II Insertable Cardiac Monitor, Zelda AI ECG Classification System | Medtronic, Inc. | K210484 | 510(k) | 2021-06-11 | II | Cohort | NR | NR | NR | No
IM007 | Implicity, Inc. | K210543 | 510(k) | 2021-11-03 | II |  | NR | NR | NR | No
Preview Shoulder | Genesis Software Innovations | K210556 | 510(k) | 2021-04-21 | II | Cohort | NR | NR | NR | No
Contour ProtegeAI | MIM Software Inc. | K210632 | 510(k) | 2021-10-20 | II | Comparative | NR | NR | NR | No
Chest-CAD | Imagen Technologies, Inc | K210666 | 510(k) | 2021-07-20 | II | Case-control | Retrospective | 9 | 238 | No
BU-CAD | TaiHao Medical Inc. | K210670 | 510(k) | 2021-12-21 | II | Case-control | NR | 2 | 628 | No
Change Healthcare Anatomical AI | Change Healthcare Canada Company | K210719 | 510(k) | 2021-07-20 | II | Cohort | Retrospective | 27 | NR | No
Us2.v1 | eko.ai Pte. Ltd. d/b/a Us2.ai | K210791 | 510(k) | 2021-07-27 | II | Case-control | Retrospective | NR | 600 | No
FlightPlan for Liver | GE Medical Systems SCS | K210807 | 510(k) | 2021-10-22 | II | Comparative | NR | NR | NR | No
OnQ Neuro | CorTechs Labs, Inc. | K210831 | 510(k) | 2021-11-19 | II | Comparative | NR | NR | NR | No
SwiftMR | AIRS Medical Inc. | K210999 | 510(k) | 2021-10-14 | II | Cross-sectional | Retrospective | NR | NR | No
Critical Care Suite with Endotracheal Tube Positing AI algorithm | GE Medical Systems, LLC | K211161 | 510(k) | 2021-10-29 | II | Cross-sectional | NR | NR | NR | No
InferRead CT Stroke.AI | Infervision Medical Technology Co., Ltd. | K211179 | 510(k) | 2021-08-12 | II | Case-control | Retrospective | 3 | 369 | No
qER-Quant | Qure.ai Technologies | K211222 | 510(k) | 2021-07-30 | II | Comparative | NR | NR | 791 | No
Volpara Imaging Software | Volpara Health Technologies Limited | K211279 | 510(k) | 2021-07-27 | II |  | NR | NR | NR | No
EndoScreener | Chengdu Wision Medical Device Co., LTD. | K211326 | 510(k) | 2021-11-19 | II | RCT | Prospective | 4 | 223 | No
breastscape v1.0 | Olea Medical | K211431 | 510(k) | 2021-08-02 | II | Comparative | NR | NR | NR | NR
syngo.via MI WorkFlows, Scenium, syngo MBF | Siemens Medical Solutions USA, Inc. | K211459 | 510(k) | 2021-06-10 | II |  | NR | NR | NR | NR
PowerLook Density Assessment Software V4.0 | ICAD Inc. | K211506 | 510(k) | 2021-07-12 | II | Cohort | NR | NR | NR | No
MammoScreen 2.0 | Therapixel | K211541 | 510(k) | 2021-11-26 | II | Case-control | NR | NR | 240 | No
EPIQ Series Diagnostic Ultrasound System, Affiniti Series Diagnostic Ultrasound System | Philips Medical Systems | K211597 | 510(k) | 2021-09-08 | II |  | NR | NR | NR | No
aPROMISE | EXINI Diagnostics AB | K211655 | 510(k) | 2021-07-27 | II |  | NR | NR | NR | No
Lunit INSIGHT MMG | Lunit Inc. | K211678 | 510(k) | 2021-11-17 | II | Comparative | Retrospective | NR | 240 | No
Lunit INSIGHT CXR Triage | Lunit Inc. | K211733 | 510(k) | 2021-11-10 | II | Cross-sectional | Retrospective | 9 | 1708 | No
Vereos PET/CT | Philips Medical Systems Nederland B.V. | K211764 | 510(k) | 2021-08-06 | II | Cross-sectional | NR | NR | NR | No
HALO | Nico.Lab B.V. | K211788 | 510(k) | 2021-07-08 | II | Cohort | NR | NR | 427 | No
HealthPPT | Zebra Medical Vision Ltd. | K211803 | 510(k) | 2021-12-15 | II | Cohort | Retrospective | NR | 216 | No
HERA W9, HERA W10 Diagnostic Ultrasound System | Samsung Medison Co., Ltd. | K211824 | 510(k) | 2021-09-09 | II |  | NR | NR | NR | No
Aquilion Exceed LB | Canon Medical Systems Corporation | K211828 | 510(k) | 2021-09-10 | II | Comparative | NR | NR | NR | No
Discovery MI Gen2 | GE Medical Systems, LLC. | K211846 | 510(k) | 2021-08-20 | II |  | NR | NR | NR | No
AI Segmentation Varian | Medical Systems, Inc. | K211881 | 510(k) | 2021-09-02 | II | Comparative | NR | NR | NR | No
V8 Diagnostic Ultrasound System | Samsung Medison CO., LTD. | K211945 | 510(k) | 2021-09-08 | II |  | NR | NR | NR | No
GI Genius | Cosmo Artificial Intelligence - AI Ltd | K211951 | 510(k) | 2021-07-23 | II |  | NR | NR | NR | No
SubtlePET | Subtle Medical, Inc. | K211964 | 510(k) | 2021-09-28 | II |  | NR | NR | NR | No
Deep Learning Image Reconstruction | GE Healthcare Japan Corporation | K212067 | 510(k) | 2021-09-17 | II | Cross-sectional | Retrospective | NR | 60 | No
ClariCT.AI | ClariPi Inc. | K212074 | 510(k) | 2021-07-27 | II |  | NR | NR | NR | No
Kosmos | EchoNous, Inc. | K212100 | 510(k) | 2021-08-06 | II |  | NR | NR | NR | No
VBrain-OAR | Vysioneer Inc. | K212116 | 510(k) | 2021-10-12 | II |  | NR | NR | NR | No
Advanced Algorithms for Treatment Management Applications (AATMA) | Elekta Solutions AB | K212218 | 510(k) | 2021-10-25 | II | Cross-sectional | Retrospective | NR | 271 | No
TruSPECT Radiological Image Processing Station | Spectrum Dynamics Medical Ltd | K212230 | 510(k) | 2021-08-16 | II | Comparative | Retrospective | NR | NR | No
StrokeSENS LVO | Circle Neurovascular Imaging, Inc | K212261 | 510(k) | 2021-10-14 | II | Case-control | Retrospective | NR | 400 | No
TEX20/TEX20 Pro/TEX20S/TEX20T/TEX20 Exp/TEX20 Elite Diagnostic Ultrasound System, TEX10/ TEX10 Pro/TEX10S/TEX10T/TEX10 Exp/TEX10 Elite/TE X/TE X Lite Diagnostic Ultrasound System | Shenzhen Mindray Bio-Medical Electronics Co.,LTD | K212265 | 510(k) | 2021-11-16 | II |  | NR | NR | NR | No
Intelligent NR | Canon Inc. | K212269 | 510(k) | 2021-09-17 | II |  | NR | NR | NR | No
Soteria.AI | Omega Medical Imaging, LLC | K212336 | 510(k) | 2021-11-17 | II |  | NR | NR | NR | No
EndoNaut | Therenva SAS | K212383 | 510(k) | 2021-08-31 | II |  | NR | NR | NR | No
Swoop Point-of-Care Magnetic Resonance Imaging (POC MRI) Scanner System | Hyperfine, Inc. | K212456 | 510(k) | 2021-11-17 | II |  | NR | NR | NR | No
LVivo Seamless V2.0 | DiA Imaging Analysis Ltd | K212466 | 510(k) | 2021-12-09 | II | Cohort | NR | NR | 100 | No
IRNF App | Apple Inc. | K212516 | 510(k) | 2021-10-22 | II | Cohort | Prospective | NR | 573 | No
Koios DS | Koios Medical, Inc. | K212616 | 510(k) | 2021-12-16 | II | Case-control | Retrospective | NR | 1550 | No
qXR-BT | Qure.ai Technologies | K212690 | 510(k) | 2021-12-21 | II | Cross-sectional | NR | NR | 162 | No
Al-Rad Companion (Pulmonary) | Siemens Medical Solutions USA, Inc. | K213096 | 510(k) | 2021-12-06 | II | Cohort | NR | NR | 400 | No
RT-Mind-AI | MedMind Technology Co., Ltd. | K213155 | 510(k) | 2021-12-15 | II |  | NR | NR | NR | No
EchoGo Core (2.0) | Ultromics Limited | K213275 | 510(k) | 2021-12-20 | II | Cross-sectional | Retrospective | NR | 214 | No
Vantage Fortian 1.5T | Canon Medical Systems Corporation | K213305 | 510(k) | 2021-12-01 | II |  | NR | NR | NR | No
Clarius Ultrasound Scanner | Clarius Mobile Health Corp. | K213436 | 510(k) | 2021-11-15 | II |  | NR | NR | NR | No
VBrain | Vysioneer Inc. | K213628 | 510(k) | 2021-12-16 | II |  | NR | NR | NR | No
LiverSmart | Resonance Health Analysis Services Pty Ltd | K213776 | 510(k) | 2021-12-29 | II |  | NR | NR | NR | No
Imagio Breast Imaging System | Seno Medical Instruments, Inc. | P200003 | Premarket Approval | 2021-01-11 | II | Cohort | Retrospective | 16 | 1972 | No
syngo.CT Brain Hemorrhage | Siemens Medical Solutions USA, Inc. | K203260 | 510(k) | 2022-01-28 | II | Case-control | Retrospective | 4 | 600 | No
Arterys MICA | Arterys Inc. | K203744 | 510(k) | 2022-03-14 | II | Cross-sectional | NR | NR | 90 | No
ClariPulmo | ClariPi Inc. | K203783 | 510(k) | 2022-04-06 | II | Cross-sectional | NR | NR | NR | No
Minuteful - kidney test | Healthy.io Ltd. | K210069 | 510(k) | 2022-07-06 | II | Cross-sectional | NR | NR | 450 | No
Second Opinion | Pearl Inc. | K210365 | 510(k) | 2022-03-04 | II | Case-control | Retrospective | NR | 2010 | No
Caption Interpretation Automated Ejection Fraction Software | Caption Health | K210747 | 510(k) | 2022-01-19 | II | Cross-sectional | Retrospective | NR | 186 | No
Precise Image | Philips Medical Systems Nederland, B.V. | K210760 | 510(k) | 2022-01-14 | II | Comparative | NR | NR | 55 | No
DeepRhythmAI | Medicalgorithmics S.A. | K210822 | 510(k) | 2022-07-27 | II |  | NR | NR | NR | No
AIBOLIT 3D+ | AIbolit Technologies, LLC | K211443 | 510(k) | 2022-01-07 | II |  | NR | NR | NR | No
QIR Suite | CASIS Cardiac Simulation & Imaging Software | K211611 | 510(k) | 2022-09-30 | II |  | NR | NR | NR | NR
Segment 3DPrint | Medviso AB | K211966 | 510(k) | 2022-05-06 | II | Cross-sectional | NR | NR | 41 | No
UNiD Spine Analyzer | MEDICREA International, Inc. | K212005 | 510(k) | 2022-01-12 | II |  | NR | NR | NR | No
Follicle Clarity | Cycle Clarity | K212012 | 510(k) | 2022-01-19 | II |  | Prospective | NR | NR | No
INT Contour | Carina Medical LLC | K212274 | 510(k) | 2022-04-08 | II | Cross-sectional | Retrospective | NR | NR | No
Aplio i900/i800/i700 Diagnostic Ultrasound System, Software V6.5 | Canon Medical Systems Corporation | K212333 | 510(k) | 2022-01-24 | II |  | NR | NR | NR | No
BoneView | Gleamer | K212365 | 510(k) | 2022-03-01 | II | Case-control | Retrospective | NR | 480 | No
Overjet Caries Assist | Overjet, Inc. | K212519 | 510(k) | 2022-05-10 | II | Case-control | Retrospective | NR | 352 | No
EFAI Intelligent Cardiothoracic Ratio (iCTR) Assessment System | Ever Fortune. AI Co., Ltd. | K212624 | 510(k) | 2022-04-04 | II | Comparative | Retrospective | 3 | 840 | No
Micro C Medical Imaging System, M01 | OXOS Medical, Inc. | K212654 | 510(k) | 2022-02-04 | II |  | NR | NR | NR | No
AliveCor QT Service | AliveCor, Inc. | K212662 | 510(k) | 2022-04-26 | II | Comparative | NR | NR | NR | No
ProstatID | ScanMed, LLC | K212783 | 510(k) | 2022-07-08 | II | Case-control | Retrospective | NR | 150 | No
MVision AI Segmentation | MVision AI | K212915 | 510(k) | 2022-05-03 | II |  | NR | NR | NR | No
IDx-DR v2.3 | Digital Diagnostics Inc. | K213037 | 510(k) | 2022-06-17 | II | Cross-sectional | Retrospective | NR | 850 | Yes
Rapid | iSchema View Inc. | K213165 | 510(k) | 2022-02-08 | II |  | NR | NR | NR | No
Eclipse II with Smart Noise Cancellation | Carestream Health Inc. | K213307 | 510(k) | 2022-01-14 | II | Cross-sectional | NR | NR | NR | No
Viz ANEURYSM, Viz ANX | Viz.ai, Inc. | K213319 | 510(k) | 2022-02-18 | II | Case-control | Retrospective | NR | 315 | No
Aorta-CAD | Imagen Technologies, Inc. | K213353 | 510(k) | 2022-09-20 | II | Cross-sectional | Retrospective | NR | 244 | Yes
Study Watch with Irregular Pulse Monitor (Home), Study Watch with Irregular Pulse Monitor | Verily Life Sciences LLC | K213357 | 510(k) | 2022-07-19 | II |  | Prospective | NR | NR | No
ZEUS System (Zio Watch) | iRhythm Technologies, Inc. | K213409 | 510(k) | 2022-07-19 | II | Cohort | Prospective | 1 | NR | No
Aquilion ONE (TSX-306A/3) V10.12 with Spectral Imaging System, Vitrea Software Package, VSTP-001A | Canon Medical Systems Corporation | K213504 | 510(k) | 2022-06-16 | II | Cross-sectional | Retrospective | NR | NR | No
TOMTEC-ARENA | TOMTEC Imaging Systems GmbH | K213544 | 510(k) | 2022-01-06 | II |  | NR | NR | NR | No
ClearRead Xray Pneumothorax | Riverain Technologies, Inc. | K213566 | 510(k) | 2022-03-10 | II | Case-control | Retrospective | 1 | 1028 | Yes
ClearPoint Maestro Brain Model | ClearPoint Neuro, Inc. | K213645 | 510(k) | 2022-08-08 | II |  | NR | NR | 101 | NR
DEEPVESSEL FFR | KeyaMed NA Inc. | K213657 | 510(k) | 2022-04-01 | II | Cross-sectional | NR | 8 | 311 | No
SKOUT Software | Iterative Scopes Inc | K213686 | 510(k) | 2022-08-12 | II | Cross-sectional | Prospective | NR | 2463 | Yes
MAGNETOM Vida with syngo MR XA50A | Siemens Medical Solutions USA, Inc. | K213693 | 510(k) | 2022-02-25 | II |  | NR | NR | NR | No
AI-Rad Companion Brain MR | Siemens Healthcare GmBh | K213706 | 510(k) | 2022-04-15 | II | Cross-sectional | Retrospective | NR | 89 | No
AI-Rad Companion (Pulmonary) | Siemens Healthcare GmBh | K213713 | 510(k) | 2022-08-11 | II |  | NR | NR | 200 | Yes
AIR Recon DL | GE Medical Systems,LLC (GE Healthcare) | K213717 | 510(k) | 2022-06-08 | II | Cross-sectional | Retrospective | 10 | 129 | No
BriefCase | Aidoc Medical, Ltd. | K213721 | 510(k) | 2022-03-21 | II | Case-control | Retrospective | 5 | 268 | No
CardIQ Suite | GE Medical Systems SCS | K213725 | 510(k) | 2022-03-11 | II | Comparative | NR | NR | NR | No
Quantib ND | Quantib B.V. | K213737 | 510(k) | 2022-01-14 | II | Comparative | NR | NR | 33 | No
ABMD Software | HeartLung Corporation | K213760 | 510(k) | 2022-07-29 | II | Cohort | Retrospective | 1 | 1165 | No
Customize | 3D-Side SA | K213779 | 510(k) | 2022-03-16 | II |  | NR | NR | NR | NR
Eko Murmur Analysis Software (EMAS) | Eko Devices, Inc. | K213794 | 510(k) | 2022-06-29 | II | Comparative | NR | NR | 2380 | No
Videa Caries Assist | VideaHealth, Inc | K213795 | 510(k) | 2022-04-21 | II | RCT | Retrospective | 10 | 226 | No
HeartFlow Analysis | HeartFlow, Inc. | K213857 | 510(k) | 2022-10-14 | II |  | NR | NR | NR | NR
EarliPoint System | EarliTec Diagnostics, Inc. | K213882 | 510(k) | 2022-06-08 | II | Comparative | Prospective | 6 | 500 | No
BriefCase | Aidoc Medical, Ltd. | K213886 | 510(k) | 2022-04-26 | II | Case-control | Retrospective | 3 | 159 | No
Revolution Ascend | GE Healthcare Japan Corporation | K213938 | 510(k) | 2022-02-04 | II |  | NR | NR | NR | No
Annalise Enterprise CXR Triage Pneumothorax | Annalise-AI | K213941 | 510(k) | 2022-02-24 | II | Case-control | Retrospective | 4 | 949 | No
HealthOST | NanoxAI Ltd. | K213944 | 510(k) | 2022-04-22 | II | Cross-sectional | Retrospective | NR | 150 | No
LiverMultiScan v5 (LMSv5) | Perspectum | K213960 | 510(k) | 2022-09-06 | II |  | NR | NR | NR | NR
Atrial Fibrillation History Feature | Apple Inc. | K213971 | 510(k) | 2022-06-03 | II | Comparative | Prospective | NR | 413 | No
Contour ProtegeAI | MIM Software Inc. | K213976 | 510(k) | 2022-02-03 | II | Cross-sectional | Retrospective | 31 | 4061 | No
cvi42 Auto Imaging Software Application | Circle Cardiovascular Imaging Inc | K213998 | 510(k) | 2022-07-28 | II | Cross-sectional | Retrospective | NR | 235 | No
Deep Learning Image Reconstruction | GE Medical Systems | K213999 | 510(k) | 2022-02-18 | II | Cross-sectional | Retrospective | NR | 40 | No
syngo.CT Extended Functionality | Siemens Medical Solutions USA, Inc. | K214019 | 510(k) | 2022-01-20 | II |  | NR | NR | NR | No
AVIEW | Coreline Soft Co., Ltd. | K214036 | 510(k) | 2022-12-23 | II |  | Retrospective | NR | 129 | Nr
BriefCase | Aidoc Medical, Ltd. | K214043 | 510(k) | 2022-03-14 | II | Case-control | Retrospective | 5 | 619 | No
MRCAT Head & Neck | Philips Oy | K214081 | 510(k) | 2022-04-05 | II |  | NR | NR | NR | No
X100HT with Slide Loader with Full Field Peripheral Blood Smear (PBS) Application | Scopio Labs Ltd. | K220013 | 510(k) | 2022-05-03 | II |  | NR | NR | NR | No
CogNet QmTRIAGE | MedCognetics, Inc. | K220080 | 510(k) | 2022-09-29 | II | Cohort | Retrospective | NR | 800 | NR
Saige-Dx | DeepHealth, Inc. | K220105 | 510(k) | 2022-05-12 | II | Case-control | Retrospective | 9 | 1304 | No
Rayvolve | AZmed SAS | K220164 | 510(k) | 2022-06-02 | II | Comparative | Retrospective | 4 | 2626 | No
Vantage Galan 3T, MRT-3020, V8.0 with AiCE Reconstruction Processing Unit for MR | Canon Medical Systems Corporation | K220192 | 510(k) | 2022-04-08 | II |  | NR | NR | NR | No
EFAI RTSuite CT HN-Segmentation System | Ever Fortune.AI Co., Ltd. | K220264 | 510(k) | 2022-04-28 | II | Cross-sectional | NR | NR | NR | No
uMR Omega with uWS-MR-MRS | Shanghai United Imaging Healthcare Co., Ltd. | K220332 | 510(k) | 2022-10-27 | II |  | NR | NR | NR | NR
Voluson Expert 22, Voluson Expert 20, Voluson Expert 18 | GE Medical Systems Ultrasound and Primary Care Diagnostics, | K220358 | 510(k) | 2022-06-06 | II | Comparative | Both | NR | 110 | No
SwiftMR | AIRS Medical Inc. | K220416 | 510(k) | 2022-05-25 | II | Cross-sectional | Retrospective | NR | NR | No
Viz SDH | Viz.ai, Inc. | K220439 | 510(k) | 2022-07-25 | II | Cross-sectional | Retrospective | 3 | 542 | No
Versana Balance | GE Medical Systems Ultrasound and Primary Care Diagnostics, | K220446 | 510(k) | 2022-05-11 | II |  | NR | NR | NR | No
CoLumbo | Smart Soft Healthcare AD | K220497 | 510(k) | 2022-06-23 | II | Cross-sectional | Retrospective | 7 | 101 | No
Rapid PE Triage and Notification (PETN) | iSchemaView Inc. | K220499 | 510(k) | 2022-05-17 | II | Case-control | Retrospective | NR | 600 | No
aPROMISE X | EXINI Diagnostics AB | K220590 | 510(k) | 2022-04-29 | II |  | NR | NR | NR | No
AutoContour Model RADAC V2 | Radformation, Inc. | K220598 | 510(k) | 2022-08-24 | II |  | Retrospective | NR | 16 | Yes
AI4CMR v1.0 | AI4MedImaging Medical Solutions S.A. | K220624 | 510(k) | 2022-07-22 | II | Cross-sectional | Retrospective | 1 | 824 | No
BriefCase | Aidoc Medical, Ltd. | K220709 | 510(k) | 2022-10-07 | II | Cross-sectional | Retrospective | 5 | 342 | NR
eMurmur Heart AI | CSD Labs GmbH | K220766 | 510(k) | 2022-05-31 | II |  | NR | NR | NR | No
syngo.via RT Image Suite | Siemens Medical Solutions USA Inc. | K220783 | 510(k) | 2022-09-07 | II |  | NR | NR | 108 | NR
ART-PLAN | TheraPanacea | K220813 | 510(k) | 2022-06-17 | II | Cross-sectional | Retrospective | NR | 374160 | No
BrainInsight | Hyperfine, Inc. | K220815 | 510(k) | 2022-07-19 | II | Comparative | Prospective | NR | NR | No
Venue Fit | GE Medical Systems | K220848 | 510(k) | 2022-06-27 | II | Cross-sectional | Retrospective | NR | 3776 | No
Venue | GE Medical Systems | K220851 | 510(k) | 2022-06-27 | II | Cross-sectional | Retrospective | NR | 3776 | No
Vivid E80, Vivid E90, Vivid E95 | GE Medical Systems Ultrasound and | K220882 | 510(k) | 2022-07-22 | II | Cross-sectional | Retrospective | NR | 135 | No
Overjet Calculus Assist | Overjet, Inc. | K220928 | 510(k) | 2022-12-16 | II | Cross-sectional | Retrospective | NR | 601 | Yes
MAGNETOM Lumina and MAGNETOM Vida Fit with syngo MR XA50A | Siemens Medical Solutions USA Inc. | K220939 | 510(k) | 2022-04-29 | II |  | NR | NR | NR | No
EchoPAC Software Only, EchoPAC Plug-in | GE Medical Systems Ultrasound and Primary Care Diagnostics, | K220940 | 510(k) | 2022-07-22 | II | Cross-sectional | Retrospective | NR | 135 | No
Libby Echo:Prio | Dyad Medical, Inc | K220956 | 510(k) | 2022-07-20 | II |  | Retrospective | NR | NR | No
Deep Learning Image Reconstruction | GE Healthcare Japan Corporation | K220961 | 510(k) | 2022-07-29 | II |  | NR | NR | NR | No
V8 Diagnostic Ultrasound System, V7 Diagnostic Ultrasound System | Samsung Medison Co., Ltd. | K220975 | 510(k) | 2022-06-29 | II | Comparative | NR | NR | 2146 | No
Aquilion Precision (TSX-304A/4) V10.10 with AiCE | Canon Medical Systems Corporation | K220986 | 510(k) | 2022-09-12 | II |  | NR | NR | NR | NR
Viz RV/LV | Viz.Ai, Inc. | K221100 | 510(k) | 2022-08-29 | II |  | NR | 4 | 750 | NR
Quantib Prostate | Quantib BV | K221106 | 510(k) | 2022-05-13 | II | Cross-sectional | Prospective | NR | NR | No
Vivid T8, Vivid T9 | GE Medical Systems Ultrasound and Primary Care Diagnostics, | K221147 | 510(k) | 2022-07-18 | II | Cross-sectional | Retrospective | NR | 135 | No
Vivid iq | GE Medical Systems Ultrasound & Primary Care Diagnostics LLC | K221148 | 510(k) | 2022-07-18 | II | Cross-sectional | Retrospective | NR | 135 | No
SomnoMetry | Neumetry Medical Inc | K221179 | 510(k) | 2022-09-21 | II | Cross-sectional | Retrospective | NR | 201 | Yes
AEYE-DS | AEYE Health, Inc. | K221183 | 510(k) | 2022-11-10 | II | Cross-sectional | Prospective | 8 | 531 | Yes
syngo.CT CaScoring | Siemens Medical Solutions USA, Inc. | K221219 | 510(k) | 2022-05-17 | II |  | NR | NR | NR | No
BriefCase | Aidoc Medical, Ltd. | K221240 | 510(k) | 2022-05-17 | II | Cross-sectional | Retrospective | 5 | 220 | No
DrAid for Radiology v1 | VinBrain Joint Stock Company | K221241 | 510(k) | 2022-09-01 | II |  | NR | NR | 750 | NR
AI-Rad Companion Organs RT | Siemens Medical Solutions USA, Inc | K221305 | 510(k) | 2022-10-14 | II | Cohort | Retrospective | Multiple | 113 | Yes
BriefCase | Aidoc Medical, Ltd. | K221314 | 510(k) | 2022-06-03 | II | Cross-sectional | Retrospective | 3 | 111 | No
BriefCase | Aidoc Medical, Ltd. | K221330 | 510(k) | 2022-11-18 | II | Cross-sectional | Retrospective | 5 | 921 | Yes
Transpara 1.7.2 | ScreenPoint Medical B.V. | K221347 | 510(k) | 2022-08-03 | II | Case-control | Retrospective | Multiple | 10690 | Yes
Swoop Portable MR Imaging System | Hyperfine, Inc. | K221393 | 510(k) | 2022-06-10 | II |  | NR | NR | NR | No
Customize | 3D-Side SA | K221432 | 510(k) | 2022-08-03 | II |  | NR | NR | NR | NR
Genius AI Detection 2.0 | Hologic, Inc. | K221449 | 510(k) | 2022-10-06 | II |  | NR | NR | NR | NR
Rapid ICH | iSchemaView Inc. | K221456 | 510(k) | 2022-09-12 | II | Cross-sectional | Retrospective | NR | 314 | Yes
EFAI ChestSuite XR Pneumothorax Assessment System | Ever Fortune.AI Co., Ltd. | K221552 | 510(k) | 2022-11-08 | II | Cross-sectional | Retrospective | 4 | 800 | Yes
HS40 Diagnostic Ultrasound System | Samsung Medison Co., Ltd. | K221599 | 510(k) | 2022-08-22 | II |  | Both | NR | 86 | Yes
Avenda Health AI Prostate Cancer Planning Software | Avenda Health, Inc. | K221624 | 510(k) | 2022-11-22 | II | Cross-sectional | Retrospective | NR | 137 | Yes
Spine CAMP™ | Medical Metrics, Inc. | K221632 | 510(k) | 2022-10-18 | II |  | NR | NR | 447 | NR
CINA | AVICENNA.AI | K221716 | 510(k) | 2022-11-22 | II | Cross-sectional | Retrospective | 3 | 1290 | Yes
syngo.CT Extended Functionality | Siemens Medical Solutions USA, Inc. | K221727 | 510(k) | 2022-07-13 | II |  | NR | NR | NR | No
NS-HGlio | Neosoma Inc. | K221738 | 510(k) | 2022-09-27 | II |  | Retrospective | NR | 132 | NR
BoneMRI v1.4 | MRlguidance B.V. | K221762 | 510(k) | 2022-11-16 | II | Comparative | Retrospective | NR | 73 | NR
VISIONAIR | PacificMD Biotech Llc | K221892 | 510(k) | 2022-10-05 | II |  | NR | NR | NR | NR
Swoop Portable MR Imaging System | Hyperfine, Inc. | K221923 | 510(k) | 2022-07-28 | II |  | NR | NR | NR | No
EndoNaut | Therenva SAS | K222070 | 510(k) | 2022-10-25 | II |  | NR | NR | NR | NR
EFAI ChestSuite XR Pleural Effusion Assessment System | Ever Fortune.AI Co., Ltd. | K222076 | 510(k) | 2022-09-08 | II | Comparative | Retrospective | NR | 600 | Yes
MI View&GO | Siemens Medical Solutions USA, Inc. | K222172 | 510(k) | 2022-08-19 | II |  | NR | NR | NR | NR
Saige-Density | DeepHealth, Inc. | K222275 | 510(k) | 2022-12-16 | II | Comparative | Retrospective | 5 | 6170 | NR
BriefCase | Aidoc Medical, Ltd. | K222277 | 510(k) | 2022-08-26 | II | Cross-sectional | Retrospective | 6 | 499 | Yes
BriefCase | Aidoc Medical, Ltd. | K222329 | 510(k) | 2022-09-28 | II | Cross-sectional | Retrospective | 5 | 499 | Yes
AI-Rad Companion (Musculoskeletal) | Siemens Medical Solutions USA, Inc. | K222361 | 510(k) | 2022-10-20 | II |  | NR | NR | 140 | NR
Syngo Dynamics (Version VA40F) | Siemens Medical Solutions USA, Inc. | K222428 | 510(k) | 2022-11-14 | II | Comparative | Retrospective | 3 | 150 | NR
BriefCase | Aidoc Medical, Ltd. | K222692 | 510(k) | 2022-12-05 | II | Cross-sectional | Retrospective | 5 | 318 | Yes
SIS System (Version 5.6.0) | Surgical Information Sciences, Inc. | K223032 | 510(k) | 2022-11-21 | II |  | NR | NR | NR | NR
Viz LVO ContaCT | Viz.Ai, Inc. | K223042 | 510(k) | 2022-10-21 | II |  | NR | NR | NR | NR
BrainInsight | Hyperfine, Inc. | K223268 | 510(k) | 2022-12-16 | II |  | Retrospective | Multiple | NR | Yes
MR 5300 and MR 7700 R11 MR Systems | Philips Medical Systems Nederlands B.V. | K223442 | 510(k) | 2022-12-23 | II |  | Retrospective | NR | NR | NR
PMD-200 | Medasense Biometrics Ltd. | DEN210022 | De Novo | 2023-02-17 | II |  | NR | NR | NR | No
Caption Interpretation Automated Ejection Fraction Software | Caption Health, Inc | DEN220063 | De Novo | 2023-02-24 | II |  | NR | NR | NR | No
Autoplaque | Cedars-Sinai Medical Center: AIM | K212758 | 510(k) | 2023-05-19 | II | Comparative | Retrospective | NR | 376 | No
Formus Hip | Formus Labs, Ltd | K213272 | 510(k) | 2023-03-31 | II | Comparative | Retrospective | NR | 60 | Yes
CerebralGo Plus | Yukun (Beijing) Technology Co., Ltd | K213986 | 510(k) | 2023-04-13 | II | Comparative | NR | NR | 141 | Yes
Neurophet AQUA | NEUROPHET, Inc. | K220437 | 510(k) | 2023-05-10 | II |  | NR | NR | 114 | No
Brainomix 360 e-ASPECTS | Brainomix Limited | K221564 | 510(k) | 2023-02-23 | II | Cross-sectional | Retrospective | NR | 54 | Yes
AVIEW Lung Nodule CAD | Coreline Soft Co., Ltd. | K221592 | 510(k) | 2023-02-24 | II | Cross-sectional | Retrospective | NR | 151 | Yes
Xeleris V Processing and Review System | GE Healthcare | K221680 | 510(k) | 2023-03-01 | II |  | NR | NR | NR | No
AccuContour | Manteia Technologies Co., Ltd. | K221706 | 510(k) | 2023-03-09 | II |  | NR | NR | NR | No
NeuroRPM | New Touch Digital Inc. | K221772 | 510(k) | 2023-03-17 | II | Cross-sectional | NR | 1 | 36 | Yes
QOCA image Smart CXR Image Processing System | Quanta Computer Inc. | K221868 | 510(k) | 2023-01-27 | II | Comparative | Retrospective | 2 | 6052 | Yes
DTX Studio Clinic 3.0 | Nobel Biocare AB | K221921 | 510(k) | 2023-03-28 | II | Comparative | Retrospective | NR | 216 | Yes
MPXA-2000 | Medipixel, Inc. | K222036 | 510(k) | 2023-03-22 | II |  | Retrospective | NR | 305 | No
RadioLens v1.0 | Synapsica | K222174 | 510(k) | 2023-03-28 | II | Comparative | Retrospective | 200 | 600 | Yes
BoneView | Gleamer | K222176 | 510(k) | 2023-03-02 | II | Cross-sectional | Retrospective | NR | 480 | Yes
Annalise Enterprise CXR Triage Trauma | Annalise-AI Pty Ltd | K222179 | 510(k) | 2023-03-28 | II | Cohort | Retrospective | 4 | 1269 | Yes
Annalise Enterprise CXR Triage Trauma | Annalise-AI Pty Ltd | K222268 | 510(k) | 2023-03-28 | II | Comparative | Retrospective | 4 | 589 | Yes
RayStation 12A | Raysearch Laboratories AB (Publ) | K222312 | 510(k) | 2023-03-29 | II |  | NR | NR | NR | No
AI-Rad Companion (Cardiovascular) | Siemens Medical Solutions U.S.A. | K222360 | 510(k) | 2023-04-06 | II | Cohort | Retrospective | NR | 315 | Yes
ZEUS System | iRhythm Technologies, Inc. | K222389 | 510(k) | 2023-02-15 | II |  | NR | NR | NR | NR
Clarius AI | Clarius Mobile Health Corp. | K222406 | 510(k) | 2023-01-23 | II | Comparative | Retrospective | NR | 2503 | NR
AIBOLIT 3D+ | AIbolit Technologies, LLC | K222458 | 510(k) | 2023-01-12 | II |  | Retrospective | NR | NR | NR
Belun Sleep System BLS-10 | Belun Technology Company Limited | K222579 | 510(k) | 2023-02-23 | II | Comparative | Prospective | NR | 106 | Yes
TruPlan Computed Tomography (CT) Imaging Software | Circle Cardiovascular Imaging Inc. | K222593 | 510(k) | 2023-01-18 | II | Cross-sectional | Retrospective | Multiple | 633 | Yes
Ceevra Reveal 3 | Ceevra, Inc. | K222676 | 510(k) | 2023-04-25 | II | Comparative | Retrospective | NR | 141 | Yes
Radiation Planning Assistant (RPA) | University of Texas, MD Anderson Cancer Center | K222728 | 510(k) | 2023-05-17 | II |  | Prospective | 5 | 320 | Yes
Axial3D Insight | Axial Medical Printing Limited | K222745 | 510(k) | 2023-07-03 | II |  | NR | NR | 12 | Yes
Overjet Caries Assist | Overjet, Inc. | K222746 | 510(k) | 2023-03-27 | II | Comparative | NR | NR | 660 | Yes
uMR 680 | Shanghai United Imaging Intelligence Co., Ltd. | K222755 | 510(k) | 2023-02-16 | II | Comparative | Retrospective | NR | 68 | NR
Oncospace | Oncospace, Inc. | K222803 | 510(k) | 2023-02-02 | II | Comparative | Retrospective | NR | 32 | No
Aquilion Serve (TSX-307A/1) V1.2 with AiCE-i | Canon Medical Systems Corporation | K222819 | 510(k) | 2023-03-03 | II | Comparative | NR | NR | NR | No
Rapid NCCT Stroke | iSchemaView Inc. | K222884 | 510(k) | 2023-03-02 | II | Cross-sectional | Retrospective | NR | 254 | Yes
LVivo IQS | DiA Imaging Analysis Ltd. | K222970 | 510(k) | 2023-02-01 | II | Comparative | Retrospective | NR | 64 | No
uCT ATLAS Astound with uWS-CT-Dual Energy Analysis | Shanghai United Imaging Healthcare Co., Ltd. | K223028 | 510(k) | 2023-02-16 | II |  | NR | NR | NR | NR
AIio | AIio, Inc. | K223073 | 510(k) | 2023-03-17 | II |  | Prospective | NR | 125 | No
Brainlab Elements Image Fusion, Contouring (4.5);Image Fusion (4.5);Fibertracking (2.0);BOLD MRI Mapping (1.0);Image Fusion Angio (1.0) | Brainlab AG | K223106 | 510(k) | 2023-07-14 | II |  | NR | NR | NR | No
Precision DL | GE Healthcare | K223212 | 510(k) | 2023-04-27 | II | Comparative | NR | 2 | NR | No
Annalise Enterprise CTB Triage Trauma | Annalise-AI Pty Ltd | K223240 | 510(k) | 2023-04-03 | II | Cohort | Retrospective | 5 | 3363 | Yes
Velacur | Sonic Incytes | K223287 | 510(k) | 2023-04-20 | II | Comparative | NR | NR | 1500 | No
Cranial Navigation, Navigation Software Cranial, Navigation Software Craniofacial, Cranial EM System, Automatic Registration iMRI | Brainlab AG | K223288 | 510(k) | 2023-07-21 | II |  | NR | NR | NR | No
Videa Perio Assist | VideaHealth, Inc | K223296 | 510(k) | 2023-02-06 | II | Comparative | Retrospective | NR | 189 | Yes
uMI Panorama | Shanghai United Imaging Healthcare Co., Ltd. | K223325 | 510(k) | 2023-03-10 | II |  | NR | NR | NR | No
UltraSight AI Guidance | UltraSight Inc | K223347 | 510(k) | 2023-07-24 | II | Cross-sectional | Prospective | NR | 240 | Yes
EyeArt v2.2.0 | Eyenuk, Inc | K223357 | 510(k) | 2023-06-16 | II | Cross-sectional | Both | NR | 246 | Yes
V8 Diagnostic Ultrasound System, V7 Diagnostic Ultrasound System | Samsung Medison Co., Ltd. | K223387 | 510(k) | 2023-02-13 | II | Comparative | Both | NR | 2146 | NR
Rapid RV/LV | iSchemaView Inc. | K223396 | 510(k) | 2023-02-01 | II | Comparative | Retrospective | NR | 124 | Yes
Spine Auto Views | GE Medical Systems SCS | K223424 | 510(k) | 2023-07-13 | II |  | NR | NR | NR | No
ECHELON Synergy MRI system | FUJIFILM Healthcare Corporation | K223426 | 510(k) | 2023-07-13 | II | Comparative | NR | NR | 382 | No
Viz AAA | Viz.ai, Inc. | K223443 | 510(k) | 2023-03-17 | II | Comparative | NR | 2 | 466 | Yes
Ingenia, Ingenia CX, Ingenia Elition, Ingenia Ambition, MR 5300 and MR 7700 MR Systems | Philips Medical Systems Nederland B.V. | K223458 | 510(k) | 2023-04-06 | II |  | NR | NR | NR | No
ME-APDS™; MAGENTIQ-COLO™ | Magentiq Eye LTD | K223473 | 510(k) | 2023-07-25 | II | RCT | Prospective | 10 | 950 | Yes
FlightPlan for Embolization | GE Medical Systems SCS | K223490 | 510(k) | 2023-03-21 | II | Comparative | NR | NR | 207 | No
Critical Care Suite with Pneumothorax Detection AI Algorithm, Critical Care Suite 2.1, Critical Care Suite | GE Medical Systems, LLC | K223491 | 510(k) | 2023-05-25 | II |  | NR | 6 | 12000 | Yes
ViewFinder Software Version 1.1 | Elaitra Ltd | K223501 | 510(k) | 2023-04-21 | II | Comparative | Retrospective | 1 | 34 | No
MR Diffusion Perfusion Mismatch V1.0 | Olea Medical | K223502 | 510(k) | 2023-01-13 | II |  | NR | NR | NR | Yes
Ceribell Status Epilepticus Monitor | Ceribell, Inc. | K223504 | 510(k) | 2023-05-23 | II | Cross-sectional | Retrospective | 6 | 350 | Yes
Spectral Bone Marrow | GE Medical Systems, LLC | K223514 | 510(k) | 2023-03-09 | II | Comparative | Retrospective | NR | 146 | No
VX1+ | Volta Medical | K223516 | 510(k) | 2023-01-21 | II | Comparative | Retrospective | 1 | 22 | NR
Sonic DL | GE Medical Systems, LLC | K223523 | 510(k) | 2023-05-30 | II | Comparative | NR | 7 | 107 | No
Brainlab Elements – Trajectory Planning (2.6), Elements Stereotaxy, Elements Lead Localization, Elements Trajectory Planning Cranial | Brainlab AG | K223552 | 510(k) | 2023-04-19 | II |  | NR | NR | NR | No
DeepCatch | MEDICALIP Co., Ltd | K223556 | 510(k) | 2023-06-16 | II | Comparative | NR | NR | 167 | Yes
SubtleMR (2.3.x) | Subtle Medical, Inc. | K223623 | 510(k) | 2023-05-11 | II |  | Retrospective | NR | NR | No
Reveal LINQ Insertable Cardiac Monitor, LINQ II Insertable Cardiac Monitor, AccuRhythm AI ECG Classification System | Medtronic, Inc. | K223630 | 510(k) | 2023-04-05 | II |  | NR | NR | NR | No
IB Lab LAMA | IB Lab Gmbh | K223646 | 510(k) | 2023-06-16 | II | Comparative | NR | 1 | 189 | Yes
MOZI TPS | Manteia Technologies Co., Ltd | K223724 | 510(k) | 2023-07-10 | II |  | NR | NR | 187 | Yes
Aquilion Precision (TSX-304A/4) V10.14 with AiCE | Canon Medical Systems Corporation | K223726 | 510(k) | 2023-03-07 | II |  | NR | NR | NR | No
ENT EM | Brainlab AG | K223734 | 510(k) | 2023-04-27 | II |  | NR | NR | NR | No
Lumify Diagnostic Ultrasound System | Philips Ultrasound | K223771 | 510(k) | 2023-05-04 | II | Comparative | Retrospective | NR | 416 | Yes
Contour ProtégéAI | MIM Software Inc. | K223774 | 510(k) | 2023-04-06 | II | Comparative | Retrospective | 10 | 819 | Yes
Ultrasound System 2300 | BK Medical Aps | K223830 | 510(k) | 2023-04-11 | II | Comparative | NR | NR | 2436 | No
FEops HEARTguideTM, FEops HEARTguideTM ALPACA | FEops NV | K223855 | 510(k) | 2023-06-06 | II | Comparative | Retrospective | NR | 35 | Yes
BriefCase | Aidoc Medical, Ltd. | K230020 | 510(k) | 2023-02-01 | II | Cross-sectional | Retrospective | 5 | 308 | Yes
ART-Plan | Therapanacea SAS | K230023 | 510(k) | 2023-04-19 | II | Cohort | Retrospective | NR | 274160 | Yes
uOmnispace | Shanghai United Imaging Healthcare Co., Ltd. | K230039 | 510(k) | 2023-07-20 | II | Comparative | NR | NR | 60 | Yes
Auto Segmentation | GE Medical Systems, LLC | K230082 | 510(k) | 2023-05-04 | II | Comparative | Retrospective | NR | 302 | Yes
HERA W10 Diagnostic Ultrasound System; HERA W9 Diagnostic Ultrasound System | Samsung Medison CO., LTD. | K230084 | 510(k) | 2023-04-21 | II | Comparative | NR | 2 | 1640 | No
Genius AI Detection 2.0 with CC-MLO Correlation | Hologic, Inc. | K230096 | 510(k) | 2023-05-23 | II | Comparative | Retrospective | NR | 667 | No
CAC Software | Imbio, Inc. | K230112 | 510(k) | 2023-06-13 | II | Comparative | Retrospective | NR | 500 | No
OptimMRI | RebrAIn, SAS | K230150 | 510(k) | 2023-07-21 | II | Comparative | Retrospective | NR | 75 | No
BoneMRI v1.6 | MRIguidance B.V | K230197 | 510(k) | 2023-02-22 | II | Comparative | Retrospective | NR | 204 | No
Swoop® Portable MR Imaging System™ | Hyperfine, Inc. | K230208 | 510(k) | 2023-02-22 | II |  | NR | NR | NR | No
iCAC Device | Bunkerhill, Inc. | K230223 | 510(k) | 2023-04-25 | II | Comparative | Retrospective | 9 | 762 | Yes
Ezra Flash | Ezra AI Inc. | K230264 | 510(k) | 2023-04-13 | II |  | NR | NR | NR | No
Saranas Early Bird Bleed Monitoring System | Saranas, Inc. | K230273 | 510(k) | 2023-05-25 | II |  | NR | NR | NR | No
Samsung ECG Monitor Application with Irregular Heart Rhythm Notification | Samsung Electronics Co.,Ltd. | K230292 | 510(k) | 2023-05-02 | II | Cohort | Prospective | NR | 888 | Yes
EarliPoint | EarliTec Diagnostics, Inc. | K230337 | 510(k) | 2023-06-29 | II | Comparative | Prospective | 6 | 475 | Yes
Sonio Detect | Sonio | K230365 | 510(k) | 2023-07-25 | II |  | Retrospective | 7 | 17885 | Yes
Bladder AI (AIBV01) | Exo Inc | K230497 | 510(k) | 2023-06-22 | II | Comparative | Prospective | NR | 122 | Yes
MR DWI/FLAIR Measurement V1.0 | Olea Medical | K230552 | 510(k) | 2023-04-26 | II |  | NR | NR | NR | Yes
LINQ II Insertable Cardiac Monitor, CareLink SmartSync LINQ II ICM Application | Medtronic, Inc. | K230553 | 510(k) | 2023-04-26 | II |  | NR | NR | NR | No
Limbus Contour | Limbus AI Inc. | K230575 | 510(k) | 2023-04-07 | II |  | NR | NR | NR | No
SKOUT® system | Iterative Scopes Inc. | K230658 | 510(k) | 2023-04-07 | II |  | NR | NR | NR | No
AutoContour Model RADAC V3 | Radformation, Inc. | K230685 | 510(k) | 2023-04-14 | II | Comparative | NR | NR | 50 | Yes
Quantib Prostate | Quantib B.V. | K230772 | 510(k) | 2023-04-17 | II |  | NR | NR | NR | No
Deep Learning Image Reconstruction | GE Healthcare Japan Corporation | K230807 | 510(k) | 2023-04-20 | II |  | NR | NR | NR | No
AusculThing ACC | AusculThing Oy | K230823 | 510(k) | 2023-07-12 | II | Comparative | NR | 4 | 133 | Yes
ANDI | Imeka Solutions, Inc. | K230913 | 510(k) | 2023-07-25 | II |  | NR | NR | NR | No
SIS System | Surgical Information Sciences, Inc. | K230977 | 510(k) | 2023-05-02 | II |  | NR | NR | NR | No
Global Hypoperfusion Index (GHI) Algorithm | Edwards Lifesciences, LLC | K231038 | 510(k) | 2023-07-26 | II |  | Retrospective | NR | NR | NR
GI Genius System 100 and GI Genius System 200 | Cosmo Artificial Intelligence - AI, Ltd. | K231143 | 510(k) | 2023-05-19 | II |  | NR | NR | NR | No
syngo.CT Lung CAD (Version VD30) | Siemens Healthcare GmbH | K231157 | 510(k) | 2023-07-19 | II | Comparative | Retrospective | NR | 712 | Yes
Irregular Rhythm Notification Feature (IRNF) | Apple Inc. | K231173 | 510(k) | 2023-07-21 | II |  | NR | NR | NR | No
Brainomix 360 Triage ICH | Brainomix Limited | K231195 | 510(k) | 2023-07-27 | II | Comparative | Retrospective | 30 | 341 | Yes
HepaFatSmart (V2.0.0) | Resonance Health Analysis Services Pty Ltd. | K231459 | 510(k) | 2023-06-20 | II | Comparative | NR | NR | 300 | Yes
Spine CAMP™ (1.1) | Medical Metrics, Inc | K231668 | 510(k) | 2023-07-07 | II | Comparative | NR | NR | 447 | No